## Title
Cost Estimate of Regional Alternative Capture
Regional Alternative Capture
Total Capital Costs ($) | 135000000
Total Land Costs ($) | 17000000
Operations and Maintenance costs ($/yr) | 3000000
Habitat Improvements (acres) | 2.01
Recreation Opportunities (linear feet of trail) | 12000
Energy Consumption (kw-hr/yr) | 2939000
Annual Volume of Stormwater Conserved (acre-ft/yr) | 3847
Cost per acre-ft Recharged ($/acre-ft) | 2400
Annual Volume of Stormwater Conserved (acre-ft/yr) | 5587.398
Cost per acre-ft Recharged ($/acre-ft) | 1700
Annual Volume of Stormwater Conserved (acre-ft/yr) | 6884
Cost per acre-ft Recharged ($/acre-ft) | 1400

## Summary
LACDPW Basin Study
N Summerville
2015-09-28
|  | LA Forebay Reach 0 | LA Forebay Reach 1 | LA Forebay Reach 2 | LA Forebay Reach 3 | LA Forebay Reach 4 | LA Forebay Reach 5 | LA Forebay Reach 6 | LA Forebay Reach 7
| Annual Volume of Stormwater Conserved (acre-ft/yr) | 1056.324 | 416.97 | 667.152 | 1417.698 | 750.546 | 694.95 | 389.172 | 194.586
| Total Capital Costs ($) | 23334136.5012 | 11955161.79 | 12813160.932 | 32203550.808 | 17683905.096 | 13668017.22 | 13273971.282 | 10561093.686
| Annual Capital Cost ($/yr) | 1104480.8213 | 550354.9401 | 617371.9358 | 1519284.0564 | 830790.5135 | 656473.1071 | 601846.1992 | 464469.1645
| Total Land Costs ($) | 3166666.6667 | 1250000 | 2000000 | 4250000 | 2250000 | 2083333.3333 | 1166666.6667 | 583333.3333
| Operations and Maintenance costs ($/yr) | 619770.7112 | 247191.1279 | 261080.0029 | 682295.7586 | 376921.1024 | 274918.0029 | 268539.3779 | 204786.2529
| Habitat Improvements (acres) | 0.38 | 0.15 | 0.24 | 0.51 | 0.27 | 0.25 | 0.14 | 0.07
| Recreation Opportunities (linear feet of trail) | 412.1699 | 1255 | 1230 | 2530 | 1170 | 2600 | 1355 | 1355
| Energy Consumption (kw-hr/yr) | 1306275.84 | 163284.48 | 163284.48 | 489853.44 | 326568.96 | 163284.48 | 163284.48 | 163284.48
| Annual Cost per acre-ft Recharged ($/yr) | 1632.3131 | 1912.7181 | 1316.7193 | 1552.9258 | 1609.1107 | 1340.2275 | 2236.5062 | 3439.3811

## Reach 0
LACDPW Basin Study
N Summerville
2015-09-28
LA Forebay Reach 0 | [5 empty] | Replacement Costs at 25 Years
1. Large triangular shaped area just south of Atlantic Avenue.
Description | Quantity | Unit | Unit Cost | Total Cost | 2. Calculated useable area = 171,500 sf = 3.9 acres. | Replacement Items | Total Cost | Annual Cost
[5 empty] | 3. Calculated infiltration area = 163,600 sf = 3.8 acres. |  | ($) | ($)
Channel Intake Modifications | LS | 1 | 125000 | 125000 | 5. Two sets of extraction wells (2 each set) and injection wells (4 each set). | Pump Station Pumps w/ 200Hp Motors | 150000 | 6251.5888
Connection Pipeline - 48-Inch | LF | 450 | 216 | 97000 |  | Pump Station Pumps VFD Drives | 50000 | 2083.8629
Connection Pipeline Railroad Jack - 60 inch Casing | LF | 100 | 2000 | 200000 |  | SUBTOTAL |  | 8335.4517
Connection Pipeline Isolation Valve & Vault | LS | 1 | 30000 | 30000
Connection Pipeline Flow Meter & Vault | LS | 1 | 40000 | 40000 |  | Operations
Pump Station Excavation | CY | 2467 | 25 | 62000
Pump Station Excavation Shoring | SF | 5194 | 2.5 | 13000 |  | Power |  | Power Cost
Pump Station Granular Backfill | CY | 386 | 25 | 10000 |  | (hp) | (kw-hr) | ($/kw-hr)
Pump Station Compacted Backfill | CY | 977 | 15 | 15000
Pump Station Excavated Material Disposal | CY | 1490 | 6.5 | 10000 |  | 800 | 1306275.84 | 0.15
Pump Station Concrete | CY | 261 | 600 | 157000
Pump Station Hatches & Miscellaneous Metals | LS | 1 | 35000 | 35000 |  | O&M Costs | Annual Cost | Project Life
Pump Station Pumps w/ 200Hp Motors | EA | 3 | 50000 | 150000 |  | % Construction | ($) | (yrs)
Pump Station Pumps VFD Drives | EA | 2 | 25000 | 50000
Pump Station Discharge Piping & Vaving | LS | 1 | 35000 | 35000 |  | 5% | 415493.8836 | 50
Pump Station Outdoor Electrical Panel | LS | 1 | 50000 | 50000
Pump Station SCADA Package | LS | 1 | 35000 | 35000
SCE Electrical Service | LS | 1 | 75000 | 75000 |  |  |  |  | Annual Cost
Extraction Wells with 50 Hp Pumps | EA | 4 | 350000 | 1400000 |  |  |  |  | ($)
Extraction Well Piping | EA | 4 | 15000 | 60000
Vadose Zone Injection Wells | EA | 8 | 450000 | 3600000 |  |  |  |  | 195941.376
Vadose Zone Well Piping | EA | 8 | 5000 | 40000
Reach Site Electrical | LS | 1 | 35000 | 35000
Reach Recharge Area Clearing & Grubbing | SY | 18400 | 2.25 | 41000
Reach Recharge Area Excavation w/ Grading & Disposal | CY | 18075 | 25 | 452000
Bentonite Cutoff Walls - Three Transverse Walls | LF | 700 | 40 | 28000
SUBTOTAL |  |  |  | 6845000
Habitat Improvements
Wetland Construction | 0.38 | acres | 35000 | 13300
SUBTOTAL |  |  |  | 13300
Recreation Improvements
Landscaped Trail | 412.1699 | feet | 25 | 10304.2467
SUBTOTAL |  |  |  | 10304.2467 | Included Above
Mobilization/Demobilization | 10 | % | 6858300 | 685830
SUBTOTAL |  |  |  | 685830
GENERAL CONDITIONS | 10 | % | 7554434.2467 | 755443.4247
SUBTOTAL |  |  |  | 755443.4247
Engineering, Legal, Permitting
Feasibility Studies, Surveys & Design Data | 10 | % | 8309877.6714 | 830987.7671
Engineering Designs & Specifications | 15 | % | 8309877.6714 | 1246481.6507
Project Management | 11 | % | 49859266.0282 | 5484519.2631
Legal | 5 | % | 8309877.6714 | 415493.8836
Permitting | 10 | % | 8309877.6714 | 830987.7671
Construction Management | 10 | % | 8309877.6714 | 830987.7671
SUBTOTAL |  |  |  | 9639458.0988
Contingency
Contingency | 30 | % | 17949335.7702 | 5384800.731
SUBTOTAL |  |  |  | 5384800.731
Land Acquisition Cost
Property Acquisition | 6.3333 | acres | 500000 | 3166666.6667 | Unit cost includes management and acquisition costs and contingency
SUBTOTAL |  |  |  | 3166666.6667 | Acquire Gross Area (Assumed Gross Area=Infiltration Area/0.6)
Total Estimated Capital Cost |  |  |  | 23334136.5012
Total Estimated Land Cost |  |  |  | 3166666.6667
Annual Capital and Land Cost |  |  |  | 1104480.8213 | Based on 3.375% annual discount rate and 50 yr project life
Annual Operating Cost |  |  |  | 619770.7112
Annual Recharge (acre-ft/yr) |  |  |  | 1056.324 | Based on 277.98 ac-ft/ac/yr
Cost of Recharge ($/acre-ft) |  |  |  | 1632.3131

## Reach 1
LACDPW Basin Study
N Summerville
2015-09-28
LA Forebay Reach 1
Replacement Costs at 25 Years
Description | Quantity | Unit | Unit Cost | Total Cost
[6 empty] | Replacement Items | Total Cost | Annual Cost
Reach Recharge Area Clearing & Grubbing | SY | 9410 | 2.25 | 21000 | 1. Area from northernmost triangular area to first railroad crossing. |  | ($) | ($)
Reach Recharge Area Excavation w/ Grading & Disposal | CY | 10630 | 25 | 266000 | 2. Calculated infiltration area = 1.5 acre. Aggregate infiltration area = 5.3 acres.
Bentonite Cutoff Walls - 3 Transverse Walls @ 85 Ft/Ea. | LF | 170 | 40 | 7000 | 3. Reach length = 1,255 feet | Extraction Wells with 50 Hp Pumps | 700000 | 29174.0809
Tower Base Channel, Grading & Rip-Rap Protection | EA | 2 | 50000 | 100000 | 4. Electrical service an extension of the Reach 0 electrical service.
Extraction Wells with 50 Hp Pumps | EA | 2 | 350000 | 700000 | 5. One set of extraction and injection wells.
Extraction Well Piping | EA | 2 | 15000 | 30000
Extraction Well Site Electrical Service | LS | 1 | 25000 | 25000
Vadose Zone Injection Wells | EA | 4 | 450000 | 1800000
Vadose Zone Well Piping | EA | 4 | 5000 | 20000
Extraction & Vadose Well MCC Panels & SCADA Package | LS | 1 | 40000 | 40000
Reach Electrical Service Extension | LS | 1 | 35000 | 35000
Reach Outlet Pipe Structure | LS | 1 | 15000 | 15000
Outlet Pipeline - 48-Inch | LF | 800 | 216 | 173000 |  | Operations
Outlet Pipeline Railroad Track Jack - 60-Inch Casing | LF | 125 | 2000 | 250000
SUBTOTAL |  |  |  | 3482000 |  | Power |  | Power Cost | Annual Cost
[6 empty] | (hp) | (kw-hr) | ($/kw-hr) | ($)
Habitat Improvements
Wetland Construction | 0.15 | acres | 35000 | 5250 |  | 100 | 163284.48 | 0.15 | 24492.672
SUBTOTAL |  |  |  | 5250
[6 empty] | O&M Costs | Annual Cost | Project Life
Recreation Improvements | [5 empty] | % Construction | ($) | (yrs)
Landscaped Trail | 1255 | feet | 25 | 31375 | Reach length
SUBTOTAL |  |  |  | 31375 |  | 5% | 193524.375 | 50
Mobilization/Demobilization | 10 | % | 3518625 | 351862.5
SUBTOTAL |  |  |  | 351862.5
GENERAL CONDITIONS | 10 | % | 3870487.5 | 387048.75
SUBTOTAL |  |  |  | 387048.75
Engineering, Legal, Permitting
Feasibility Studies, Surveys & Design Data | 10 | % | 4257536.25 | 425753.625
Engineering Designs & Specifications | 15 | % | 4257536.25 | 638630.4375
Project Management | 11 | % | 25545217.5 | 2809973.925
Legal | 5 | % | 4257536.25 | 212876.8125
Permitting | 10 | % | 4257536.25 | 425753.625
Construction Management | 10 | % | 4257536.25 | 425753.625
SUBTOTAL |  |  |  | 4938742.05
Contingency
Contingency | 30 | % | 9196278.3 | 2758883.49
SUBTOTAL |  |  |  | 2758883.49
Land Acquisition Cost
Property Acquisition | 2.5 | acres | 500000 | 1250000 | Unit cost includes management and acquisition costs and contingency
SUBTOTAL |  |  |  | 1250000 | Acquire Gross Area (Assumed Gross Area=Infiltration Area/0.6)
Total Estimated Capital Cost |  |  |  | 11955161.79
Total Estimated Land Cost |  |  |  | 1250000
Annual Capital and Land Cost |  |  |  | 550354.9401 | Based on 3.375% annual discount rate and 50 yr project life
Annual Operating Cost |  |  |  | 247191.1279
Annual Recharge (acre-ft/yr) |  |  |  | 416.97 | Based on 277.98 ac-ft/ac/yr
Cost of Recharge ($/acre-ft) |  |  |  | 1912.7181

## Reach 2
LACDPW Basin Study
N Summerville
2015-09-28
LA Forebay Reach 2 | [5 empty] | Replacement Costs at 25 Years
Description | Quantity | Unit | Unit Cost | Total Cost |  | Replacement Items | Total Cost | Annual Cost
[7 empty] | ($) | ($)
Reach Recharge Area Clearing & Grubbing | SY | 13820 | 2.25 | 31000 | 1. Area from railroad crossing to Slauson Avenue
Reach Recharge Area Excavation w/ Grading & Disposal | CY | 18385 | 25 | 460000 | 2. Calculated infiltration area = 2.4 acres. Aggregate infiltration area = 7.7 acres. | Extraction Wells with 50 Hp Pumps | 700000 | 29174.0809
Bentonite Cutoff Walls - 3 Transverse Walls @ 135 Ft/Ea. | LF | 405 | 40 | 16000 | 3. Reach length = 1,230 feet.
Tower Base Channel, Grading & Rip-Rap Protection | EA | 2 | 50000 | 100000 | 4. One electrical feed from Slauson Ave.
Extraction Wells with 50 Hp Pumps | EA | 2 | 350000 | 700000 | 5. One set of extraction and injection wells.
Extraction Well Piping | EA | 2 | 15000 | 30000
Extraction Well Site Electrical Service | LS | 1 | 35000 | 35000
Vadose Zone Injection Wells | EA | 4 | 450000 | 1800000
Vadose Zone Well Piping | EA | 4 | 5000 | 20000
Extraction & Vadose Well MCC Panels & SCADA Package | LS | 1 | 40000 | 40000
SCE Electrical Service from Slauson Avenue | LS | 1 | 50000 | 50000
Reach Electrical Service Extension | LS | 1 | 35000 | 35000
Access Roadway Modifications | LS | 1 | 30000 | 30000 |  | Operations
Reach Outlet Pipe Structure | LS | 1 | 15000 | 15000
Outlet Pipeline - 48-Inch | LF | 325 | 216 | 70000 |  | Power |  | Power Cost | Annual Cost
Outlet Pipeline Slauson Ave Jack - 60-Inch Casing | LF | 150 | 2000 | 300000 |  | (hp) | (kw-hr) | ($/kw-hr) | ($)
SUBTOTAL |  |  |  | 3732000
[6 empty] | 100 | 163284.48 | 0.15 | 24492.672
Habitat Improvements
Wetland Construction | 0.24 | acres | 35000 | 8400 | 10% of useable area | O&M Costs | Annual Cost | Project Life
SUBTOTAL |  |  |  | 8400 |  | % Construction | ($) | (yrs)
Recreation Improvements | [5 empty] | 5% | 207413.25 | 50
Landscaped Trail | 1230 | feet | 25 | 30750
Property Acquisition | 0 | acres | 500000 | 0 | Reach length
SUBTOTAL |  |  |  | 30750 | Included Above
Mobilization/Demobilization | 10 | % | 3771150 | 377115
SUBTOTAL |  |  |  | 377115
GENERAL CONDITIONS | 10 | % | 4148265 | 414826.5
SUBTOTAL |  |  |  | 414826.5
Engineering, Legal, Permitting
Feasibility Studies, Surveys & Design Data | 10 | % | 4563091.5 | 456309.15
Engineering Designs & Specifications | 15 | % | 4563091.5 | 684463.725
Project Management | 11 | % | 27378549 | 3011640.39
Legal | 5 | % | 4563091.5 | 228154.575
Permitting | 10 | % | 4563091.5 | 456309.15
Construction Management | 10 | % | 4563091.5 | 456309.15
SUBTOTAL |  |  |  | 5293186.14
Contingency
Contingency | 30 | % | 9856277.64 | 2956883.292
SUBTOTAL |  |  |  | 2956883.292
Land Acquisition Cost
Property Acquisition | 4 | acres | 500000 | 2000000 | Unit cost includes management and acquisition costs and contingency
SUBTOTAL |  |  |  | 2000000 | Acquire Gross Area (Assumed Gross Area=Infiltration Area/0.6)
Total Estimated Capital Cost |  |  |  | 12813160.932
Total Estimated Land Cost |  |  |  | 2000000
Annual Capital and Land Cost |  |  |  | 617371.9358 | Based on 3.375% annual discount rate and 50 yr project life
Annual Operating Cost |  |  |  | 261080.0029
Annual Recharge (acre-ft/yr) |  |  |  | 667.152 | Based on 277.98 ac-ft/ac/yr
Cost of Recharge ($/acre-ft) |  |  |  | 1316.7193

## Reach 3
LACDPW Basin Study
N Summerville
2015-09-28
LA Forebay Reach 3 | [5 empty] | Replacement Costs at 25 Years
Description | Quantity | Unit | Unit Cost | Total Cost |  | Replacement Items | Total Cost | Annual Cost
[7 empty] | ($) | ($)
Reach Recharge Area Clearing & Grubbing | SY | 34465 | 2.25 | 78000 | 1. Area from Slauson Ave to next railroad crossing.
Reach Recharge Area Excavation w/ Grading & Disposal | CY | 39965 | 25 | 999000 | 2. Calculated infiltration area = 5.1 acres. Aggregte infiltration area = 12.8 acres. | Extraction Wells with Pumps | 2100000 | 87522.2426
Bentonite Cutoff Walls - 4 Transverse Walls @ 140 Ft/Ea. | LF | 560 | 40 | 22000 | 3. Reach length = 2,530 feet.
Tower Base Channel, Grading & Rip-Rap Protection | EA | 4 | 50000 | 200000 | 4. One electrical feed from Slauson w/ increased wire size for extra length.
Extraction Wells with Pumps | EA | 6 | 350000 | 2100000 | 5. Three sets of extraction wells (2 each set) and injection wells (4 each set).
Extraction Well Piping | EA | 6 | 15000 | 90000
Vadose Zone Injection Wells | EA | 12 | 450000 | 5400000
Vadose Zone Well Piping | EA | 12 | 5000 | 60000
Reach Electrical Service Extension | LS | 1 | 70000 | 70000
Extraction & Vadose Well MCC Panels & SCADA Package | LS | 1 | 40000 | 40000
Access Roadway Modifications | LS | 1 | 30000 | 30000
Reach Outlet Pipe Structure | LS | 1 | 15000 | 15000
Outlet Pipeline - 48-Inch | LF | 200 | 216 | 43000 |  | Operations
Outlet Pipeline Slauson Ave Jack - 60-Inch Casing | LF | 125 | 2000 | 250000
SUBTOTAL |  |  |  | 9397000 |  | Power |  | Power Cost | Annual Cost
[6 empty] | (hp) | (kw-hr) | ($/kw-hr) | ($)
Habitat Improvements
Wetland Construction | 0.51 | acres | 35000 | 17850 | 10% of useable area | 300 | 489853.44 | 0.15 | 73478.016
SUBTOTAL |  |  |  | 17850
[6 empty] | O&M Costs | Annual Cost | Project Life
Recreation Improvements | [5 empty] | % Construction | ($) | (yrs)
Landscaped Trail | 2530 | feet | 25 | 63250 | Reach length
SUBTOTAL |  |  |  | 63250 |  | 5% | 521295.5 | 50
GENERAL CONDITIONS | 10 | % | 9478100 | 947810
SUBTOTAL |  |  |  | 947810
Mobilization/Demobilization | 10 | % | 10425910 | 1042591
SUBTOTAL |  |  |  | 1042591
GENERAL CONDITIONS
Feasibility Studies, Surveys & Design Data | 10 | % | 11468501 | 1146850.1
Engineering Designs & Specifications | 15 | % | 11468501 | 1720275.15
Project Management | 11 | % | 68811006 | 7569210.66
Legal | 5 | % | 11468501 | 573425.05
Permitting | 10 | % | 11468501 | 1146850.1
Construction Management | 10 | % | 11468501 | 1146850.1
SUBTOTAL |  |  |  | 13303461.16
Contingency
Contingency | 30 | % | 24771962.16 | 7431588.648
SUBTOTAL |  |  |  | 7431588.648
Land Acquisition Cost
Property Acquisition | 8.5 | acres | 500000 | 4250000 | Unit cost includes management and acquisition costs and contingency
SUBTOTAL |  |  |  | 4250000 | Acquire Gross Area (Assumed Gross Area=Infiltration Area/0.6)
Total Estimated Capital Cost |  |  |  | 32203550.808
Total Estimated Land Cost |  |  |  | 4250000
Annual Capital and Land Cost |  |  |  | 1519284.0564 | Based on 3.375% annual discount rate and 50 yr project life
Annual Operating Cost |  |  |  | 682295.7586
Annual Recharge (acre-ft/yr) |  |  |  | 1417.698 | Based on 277.98 ac-ft/ac/yr
Cost of Recharge ($/acre-ft) |  |  |  | 1552.9258

## Reach 4
LACDPW Basin Study
N Summerville
2015-09-28
LA Forebay Reach 4 | [5 empty] | Replacement Costs at 25 Years
Description | Quantity | Unit | Unit Cost | Total Cost |  | Replacement Items | Total Cost | Annual Cost
[7 empty] | ($) | ($)
Reach Recharge Area Clearing & Grubbing | SY | 17800 | 2.25 | 40000 | 1. Area from railroad crossing to Gage Avenue.
Reach Recharge Area Excavation w/ Grading & Disposal | CY | 20320 | 25 | 508000 | 2. Calculated infiltration area = 2.7 acres. Aggregte infiltration area = 15.5 acres. | Extraction Wells with 50 Hp Pumps | 1000000 | 41677.2584
Bentonite Cutoff Walls - Two Transverse Walls @ 160 Ft/Ea. | LF | 320 | 40 | 13000 | 3. Reach length = 1,170 feet.
Tower Base Channel, Grading & Rip-Rap Protection | EA | 2 | 50000 | 100000 | 4. One electrical feed from Gage Ave.
Extraction Wells with 50 Hp Pumps | EA | 4 | 250000 | 1000000 | 5. Two sets of extraction wells (2 each set) and injection wells (4 each set).
Extraction Well Piping | EA | 4 | 15000 | 60000
Vadose Zone Injection Wells | EA | 8 | 350000 | 2800000
Vadose Zone Well Piping | EA | 8 | 5000 | 40000
Reach Electrical Service Extension | LS | 1 | 35000 | 35000
Extraction & Vadose Well MCC Panels & SCADA Package | LS | 1 | 40000 | 40000
Access Roadway Modifications | LS | 1 | 50000 | 50000
Reach Outlet Pipe Structure | LS | 1 | 15000 | 15000
Outlet Pipeline - 48-Inch | LF | 300 | 216 | 65000 |  | Operations
Outlet Pipeline Slauson Ave Jack - 60-Inch Casing | LF | 200 | 2000 | 400000
SUBTOTAL |  |  |  | 5166000 |  | Power |  | Power Cost | Annual Cost
[6 empty] | (hp) | (kw-hr) | ($/kw-hr) | ($)
Habitat Improvements
Wetland Construction | 0.27 | acres | 35000 | 9450 | 10% of useable area | 200 | 326568.96 | 0.15 | 48985.344
SUBTOTAL |  |  |  | 9450
[6 empty] | O&M Costs | Annual Cost | Project Life
Recreation Improvements | [5 empty] | % Construction | ($) | (yrs)
Landscaped Trail | 1170 | feet | 25 | 29250 | Reach length
SUBTOTAL |  |  |  | 29250 |  | 5% | 286258.5 | 50
Mobilization/Demobilization | 10 | % | 5204700 | 520470
SUBTOTAL |  |  |  | 520470
GENERAL CONDITIONS | 10 | % | 5725170 | 572517
SUBTOTAL |  |  |  | 572517
Engineering, Legal, Permitting
Feasibility Studies, Surveys & Design Data | 10 | % | 6297687 | 629768.7
Engineering Designs & Specifications | 15 | % | 6297687 | 944653.05
Project Management | 11 | % | 37786122 | 4156473.42
Legal | 5 | % | 6297687 | 314884.35
Permitting | 10 | % | 6297687 | 629768.7
Construction Management | 10 | % | 6297687 | 629768.7
SUBTOTAL |  |  |  | 7305316.92
Contingency
Contingency | 30 | % | 13603003.92 | 4080901.176
SUBTOTAL |  |  |  | 4080901.176
Land Acquisition Cost
Property Acquisition | 4.5 | acres | 500000 | 2250000 | Unit cost includes management and acquisition costs and contingency
SUBTOTAL |  |  |  | 2250000 | Acquire Gross Area (Assumed Gross Area=Infiltration Area/0.6)
Total Estimated Capital Cost |  |  |  | 17683905.096
Total Estimated Land Cost |  |  |  | 2250000 | Based on 3.375% annual discount rate and 50 yr project life
Annual Capital and Land Cost |  |  |  | 830790.5135
Annual Operating Cost |  |  |  | 376921.1024
Annual Recharge (acre-ft/yr) |  |  |  | 750.546 | Based on 277.98 ac-ft/ac/yr
Cost of Recharge ($/acre-ft) |  |  |  | 1609.1107

## Reach 5
LACDPW Basin Study
N Summerville
2015-09-28
LA Forebay Reach 5
Replacement Costs at 25 Years
Description | Quantity | Unit | Unit Cost | Total Cost
[6 empty] | Replacement Items | Total Cost | Annual Cost
Reach Recharge Area Clearing & Grubbing | SY | 21110 | 2.25 | 47000 | 1. Area from Gage Avenue to Florence Avenue. |  | ($) | ($)
Reach Recharge Area Excavation w/ Grading & Disposal | CY | 23145 | 25 | 579000 | 2. Calculated infiltration area = 2.5 acres. Aggregte infiltration area = 18.0 acres.
Bentonite Cutoff Walls - Four Transverse Walls @ 90 Ft/Ea. | LF | 360 | 40 | 14000 | 3. Reach length = 2,600 feet. | Extraction Wells with 50 Hp Pumps | 700000 | 29174.0809
Tower Base Channel, Grading & Rip-Rap Protection | EA | 4 | 50000 | 200000 | 4. Two electrical feeds, one from Gage Ave & other from Florence Ave.
Extraction Wells with 50 Hp Pumps | EA | 2 | 350000 | 700000 | 5. One set of extraction and injection wells.
Extraction Well Piping | EA | 2 | 15000 | 30000
Vadose Zone Injection Wells | EA | 4 | 450000 | 1800000
Vadose Zone Well Piping | EA | 4 | 5000 | 20000
Reach Electrical Service Extension | LS | 1 | 70000 | 70000
Extraction & Vadose Well MCC Panels & SCADA Package | LS | 1 | 40000 | 40000
Access Roadway Modifications | LS | 1 | 30000 | 30000
Reach Outlet Pipe Structure | LS | 1 | 15000 | 15000
Outlet Pipeline - 48-Inch | LF | 250 | 216 | 54000 |  | Operations
Outlet Pipeline Slauson Ave Jack - 60-Inch Casing | LF | 175 | 2000 | 350000
SUBTOTAL |  |  |  | 3949000 |  | Power |  | Power Cost | Annual Cost
[6 empty] | (hp) | (kw-hr) | ($/kw-hr) | ($)
Habitat Improvements
Wetland Construction | 0.25 | acres | 35000 | 8750 | 10% of useable area | 100 | 163284.48 | 0.15 | 24492.672
SUBTOTAL |  |  |  | 8750
[6 empty] | O&M Costs | Annual Cost | Project Life
Recreation Improvements | [5 empty] | % Construction | ($) | (yrs)
Landscaped Trail | 2600 | feet | 25 | 65000 | Reach length
SUBTOTAL |  |  |  | 65000 |  | 5% | 221251.25 | 50
Mobilization/Demobilization | 10 | % | 4022750 | 402275
SUBTOTAL |  |  |  | 402275
GENERAL CONDITIONS | 10 | % | 4425025 | 442502.5
SUBTOTAL |  |  |  | 442502.5
Engineering, Legal, Permitting
Feasibility Studies, Surveys & Design Data | 10 | % | 4867527.5 | 486752.75
Engineering Designs & Specifications | 15 | % | 4867527.5 | 730129.125
Project Management | 11 | % | 29205165 | 3212568.15
Legal | 5 | % | 4867527.5 | 243376.375
Permitting | 10 | % | 4867527.5 | 486752.75
Construction Management | 10 | % | 4867527.5 | 486752.75
SUBTOTAL |  |  |  | 5646331.9
Contingency
Contingency | 30 | % | 10513859.4 | 3154157.82
SUBTOTAL |  |  |  | 3154157.82
Land Acquisition Cost
Property Acquisition | 4.1667 | acres | 500000 | 2083333.3333 | Unit cost includes management and acquisition costs and contingency
SUBTOTAL |  |  |  | 2083333.3333 | Acquire Gross Area (Assumed Gross Area=Infiltration Area/0.6)
Total Estimated Capital Cost |  |  |  | 13668017.22
Total Estimated Land Cost |  |  |  | 2083333.3333
Annual Capital and Land Cost |  |  |  | 656473.1071 | Based on 3.375% annual discount rate and 50 yr project life
Annual Operating Cost |  |  |  | 274918.0029
Annual Recharge (acre-ft/yr) |  |  |  | 694.95 | Based on 277.98 ac-ft/ac/yr
Cost of Recharge ($/acre-ft) |  |  |  | 1340.2275

## Reach 6
LACDPW Basin Study
N Summerville
2015-09-28
LA Forebay Reach 6 | [5 empty] | Replacement Costs at 25 Years
Description | Quantity | Unit | Unit Cost | Total Cost |  | Replacement Items | Total Cost | Annual Cost
[7 empty] | ($) | ($)
Reach Recharge Area Clearing & Grubbing | SY | 16155 | 2.25 | 36000 | 1. Area from Florence Avenue to Clara Street.
Reach Recharge Area Excavation w/ Grading & Disposal | CY | 24445 | 25 | 611000 | 2. Calculated infiltration area = 1.4 acres. Aggregte infiltration area = 19.4 acres. | Extraction Wells with 50 Hp Pumps | 700000 | 29174.0809
Bentonite Cutoff Walls - Three Transverse Walls @ 95 Ft/Ea. | LF | 285 | 40 | 11000 | 3. Reach length = 1,355 feet.
Tower Base Channel, Grading & Rip-Rap Protection | EA | 2 | 50000 | 100000 | 4. One electrical feed from Florence Ave.
Extraction Wells with 50 Hp Pumps | EA | 2 | 350000 | 700000 | 5. One set of extraction and injection wells.
Extraction Well Piping | EA | 2 | 15000 | 30000
Vadose Zone Injection Wells | EA | 4 | 450000 | 1800000
Vadose Zone Well Piping | EA | 4 | 5000 | 20000
Reach Electrical Service Extension | LS | 1 | 35000 | 35000
Extraction & Vadose Well MCC Panels & SCADA Package | LS | 1 | 40000 | 40000
Access Roadway Modifications | LS | 1 | 30000 | 30000
Reach Outlet Pipe Structure | LS | 1 | 15000 | 15000
Outlet Pipeline - 48-Inch | LF | 650 | 216 | 140000 |  | Operations
Outlet Pipeline Slauson Ave Jack - 60-Inch Casing | LF | 150 | 2000 | 300000
SUBTOTAL |  |  |  | 3868000 |  | Power |  | Power Cost | Annual Cost
[6 empty] | (hp) | (kw-hr) | ($/kw-hr) | ($)
Habitat Improvements
Wetland Construction | 0.14 | acres | 35000 | 4900 | 10% of useable area | 100 | 163284.48 | 0.15 | 24492.672
SUBTOTAL |  |  |  | 4900
[6 empty] | O&M Costs | Annual Cost | Project Life
Recreation Improvements | [5 empty] | % Construction | ($) | (yrs)
Landscaped Trail | 1355 | feet | 25 | 33875 | Reach length
SUBTOTAL |  |  |  | 33875 |  | 5% | 214872.625 | 50
Mobilization/Demobilization | 10 | % | 3906775 | 390677.5
SUBTOTAL |  |  |  | 390677.5
GENERAL CONDITIONS | 10 | % | 4297452.5 | 429745.25
SUBTOTAL |  |  |  | 429745.25
Engineering, Legal, Permitting
Feasibility Studies, Surveys & Design Data | 10 | % | 4727197.75 | 472719.775
Engineering Designs & Specifications | 15 | % | 4727197.75 | 709079.6625
Project Management | 11 | % | 28363186.5 | 3119950.515
Legal | 5 | % | 4727197.75 | 236359.8875
Permitting | 10 | % | 4727197.75 | 472719.775
Construction Management | 10 | % | 4727197.75 | 472719.775
SUBTOTAL |  |  |  | 5483549.39
Contingency
Contingency | 30 | % | 10210747.14 | 3063224.142
SUBTOTAL |  |  |  | 3063224.142
Land Acquisition Cost
Property Acquisition | 2.3333 | acres | 500000 | 1166666.6667 | Unit cost includes management and acquisition costs and contingency
SUBTOTAL |  |  |  | 1166666.6667 | Acquire Gross Area (Assumed Gross Area=Infiltration Area/0.6)
Total Estimated Capital Cost |  |  |  | 13273971.282
Total Estimated Land Cost |  |  |  | 1166666.6667
Annual Capital and Land Cost |  |  |  | 601846.1992 | Based on 3.375% annual discount rate and 50 yr project life
Annual Operating Cost |  |  |  | 268539.3779
Annual Recharge (acre-ft/yr) |  |  |  | 389.172 | Based on 277.98 ac-ft/ac/yr
Cost of Recharge ($/acre-ft) |  |  |  | 2236.5062

## Reach 7
LACDPW Basin Study
N Summerville
2015-09-28
LA Forebay Reach 7 | [5 empty] | Replacement Costs at 25 Years
Description | Quantity | Unit | Unit Cost | Total Cost |  | Replacement Items | Total Cost | Annual Cost
[7 empty] | ($) | ($)
Reach Recharge Area Clearing & Grubbing | SY | 5560 | 2.25 | 13000 | 1. Area between 1st & 2nd towers south of Clara Street.
Reach Recharge Area Excavation w/ Grading & Disposal | CY | 8960 | 25 | 224000 | 2. Calculated infiltration area = 0.7 acres. Aggregte infiltration area = 20.1 acres. | Extraction Wells with 50 Hp Pumps | 224000 | 9335.7059
Bentonite Cutoff Walls - Two Transverse Walls @ 100 Ft/Ea. | LF | 200 | 40 | 8000 | 3. Reach length = 1,355 feet.
Extraction Wells with 50 Hp Pumps | EA | 2 | 350000 | 700000 | 4. One electrical feed from Clara Ave.
Extraction Well Piping | EA | 2 | 15000 | 30000 | 5. One set of extraction and injection wells.
Vadose Zone Injection Wells | EA | 4 | 450000 | 1800000
Vadose Zone Well Piping | EA | 4 | 5000 | 20000
SCE Electrical Service | LS | 1 | 50000 | 50000
Reach Electrical Service Extension | LS | 1 | 35000 | 35000
Extraction & Vadose Well MCC Panels & SCADA Package | LS | 1 | 40000 | 40000
Access Roadway Modifications | LS | 1 | 30000 | 30000
Overflow Pipe Structure | LS | 1 | 15000 | 15000
Overflow Pipeline - 48-Inch | LF | 150 | 216 | 32000 |  | Operations
Channel Overflow Pipe Discharge Modifications | LS | 1 | 75000 | 75000
SUBTOTAL |  |  |  | 3072000 |  | Power |  | Power Cost | Annual Cost
[6 empty] | (hp) | (kw-hr) | ($/kw-hr) | ($)
Habitat Improvements
Wetland Construction | 0.07 | acres | 35000 | 2450 | 10% of useable area | 100 | 163284.48 | 0.15 | 24492.672
SUBTOTAL |  |  |  | 2450
[6 empty] | O&M Costs | Annual Cost | Project Life
Recreation Improvements | [5 empty] | % Construction | ($) | (yrs)
Landscaped Trail | 1355 | feet | 25 | 33875 | Reach length
SUBTOTAL |  |  |  | 33875 |  | 5% | 170957.875 | 50
Mobilization/Demobilization | 10 | % | 3108325 | 310832.5
SUBTOTAL |  |  |  | 310832.5
GENERAL CONDITIONS | 10 | % | 3419157.5 | 341915.75
SUBTOTAL |  |  |  | 341915.75
Engineering, Legal, Permitting
Feasibility Studies, Surveys & Design Data | 10 | % | 3761073.25 | 376107.325
Engineering Designs & Specifications | 15 | % | 3761073.25 | 564160.9875
Project Management | 11 | % | 22566439.5 | 2482308.345
Legal | 5 | % | 3761073.25 | 188053.6625
Permitting | 10 | % | 3761073.25 | 376107.325
Construction Management | 10 | % | 3761073.25 | 376107.325
SUBTOTAL |  |  |  | 4362844.97
Contingency
Contingency | 30 | % | 8123918.22 | 2437175.466
SUBTOTAL |  |  |  | 2437175.466
Land Acquisition Cost
Property Acquisition | 1.1667 | acres | 500000 | 583333.3333 | Unit cost includes management and acquisition costs and contingency
SUBTOTAL |  |  |  | 583333.3333 | Acquire Gross Area (Assumed Gross Area=Infiltration Area/0.6)
Total Estimated Capital Cost |  |  |  | 10561093.686
Total Estimated Land Cost |  |  |  | 583333.3333
Annual Capital and Land Cost |  |  |  | 464469.1645 | Based on 3.375% annual discount rate and 50 yr project life
Annual Operating Cost |  |  |  | 204786.2529
Annual Recharge (acre-ft/yr) |  |  |  | 194.586 | Based on 277.98 ac-ft/ac/yr
Cost of Recharge ($/acre-ft) |  |  |  | 3439.3811