##### Historical Data

Historical data for most of California’s rivers and reservoirs can be found on the California Data Exchange Center (CDEC) http://cdec.water.ca.gov/.  CDEC provides reservoir storage, river flow, and water temperature as well as many other parameters.  This Appendix presents some comparisons between CalSim-II and measured data.  In addition to comparisons, temperature data are summarized for selected locations.

## Historical data and CalSim-II operations

Operations within CalSim-II assume the current D1641 regulatory environment with CVPIA (b)(2) and EWA.  The following presents a comparison of the “Existing Condition” Study 7.0 CalSim-II results with historical data back to water-year 1988.  When analyzing the differences between the CalSim-II model output and what occurred historically it is important to note that CalSim-II represents a single regulatory environment and a single level of development (2005).  There have been many changes in the regulations to which the SWP and CVP operate along with changes in demand.  Refer to OCAP BA Chapter 1 for a list of regulatory changes which would have altered the operations today as compared to how the projects were operated historically.  Therefore, when making a direct comparison between historical data and CalSim-II the time period should be considered.  In general these comparisons are more appropriate as the time period moves closer to the “Existing condition” (e.g. it would be more appropriate to compare water-year 2000 than water-year 1990).

Figure U-1 through Figure U-3 shows the comparison between historical storage and CalSim-II simulated storage for Shasta, Folsom, and New Melones reservoirs.

Figure U-4 and Figure U-5 show the comparison between historical flow and CalSim-II simulated flow for the Sacramento River at Freeport and San Joaquin River at Vernalis.

Figure U-6 and Figure U-7 show the comparison between historical export pumping and CalSim-II simulated export pumping for Banks Pumping Plant and Jones Pumping Plant.

Figure U-8 and Figure U-9 show the comparison between historical storage and CalSim-II simulated storage for the CVP and SWP shares of San Luis Reservoir.

Figure U-1  Comparison between historical Shasta storage and CalSim-II Shasta storage

Figure U-2  Comparison between historical Folsom storage and CalSim-II Folsom storage

Figure U-3  Comparison between historical New Melones storage and CalSim-II New Melones storage

Figure U-4  Comparison between historical Sacramento River at Freeport flow and CalSim-II Sacramento River at Freeport flow

Figure U-5  Comparison between historical San Joaquin River at Vernalis flow and CalSim-II San Joaquin River at Vernalis flow

Figure U-6  Comparison between historical Banks export and CalSim-II Banks export

Figure U-7  Comparison between historical Jones export and CalSim-II Jones export

Figure U-8  Comparison between historical SWP San Luis storage and CalSim-II SWP San Luis storage

Figure U-9  Comparison between historical CVP San Luis storage and CalSim-II CVP San Luis storage

## Temperature and Flow

The temperature model was compared to historical temperature for the temperatures and flows for the Sacramento River, and Clear Creek are shown in Figure U-10 through Figure U-14.

Other comparisons between CalSim-II and actual measurements can be found in the following files:

- Historical_Temperature-vs_Study7-Sacramento_R.xls

- Historical_Temperature_vs_Study7-Clear_Cr.xls

- Historical_vs_Study7_Max-MinWT.xls

- Upper_SacRiv_WT_Exceedence_Study7_041008.xls

Historical measured temperatures can be found in the following files:

- DRAFT_Historical_Temperature-Shasta_Keswick_&_Bend_Br.xls

- Historical_Temperature-Clear_Cr.xls

- Historical_Temperature-Lwr_American_R.xls

- Historical_Temperature-Sacramento_R.xls

- Historical_Temperature-Stanislaus&SJ_R.xls

- Historical_Temperature-Trinity_R.xls

- Historical_USacR_WT_Exceedence_Charts.xls

Figure U-10 Sacramento River temperature and flow for a wet year (1999)

Figure U-11 Sacramento River temperature and flow for a wet year (2001)

Figure U-12 Clear Creek temperature and flow at Igo for a dry year (2001)

Figure U-13 Clear Creek temperature and flow at Igo for a dry year (2002)

Figure U-14 Clear Creek temperature and flow at Igo for an above normal year (2003)

### Delta Temperatures

Historical temperatures for a selection of locations in the Sacramento – San Joaquin Delta are presented to show the seasonal variation.  The temperatures in the Delta are largely uncontrolled by the CVP and SWP operations.  The three locations selected were Antioch, Rio Vista, and Mossdale these stations bound the Sacramento – San Joaquin Delta and give an indication of the water temperatures entering the Delta.  However, the period presented in Figure U-15 through Figure U-17 only encompasses a very short period with the longest period being 12 years (1995 to 2007) and the shortest period being 5 years (2002 to 2007).

Figure U-15  Seasonal water temperature for San Joaquin River at Antioch

Figure U-16  Seasonal water temperature for Sacramento River at Rio Vista

Figure U-17  Seasonal water temperature for Sacramento River at Rio Vista