## About
About this File
This file provides all checklists required to fulfill New Construction (NC) & Major Renovation sustainable building (SB) certification and documentation requirements of Reclamation Manual Directive and Standard (D&S), "Guiding Principles for Sustainable Construction, Renovation, Operations, and Leasing of Bureau of Reclamation Building Assets" (ENV TRMR-##) and as detailed in the Reclamation's Sustainable Buildings Implementation Plan. It provides separate checklists for documenting compliance with the Guiding Principles for Sustinable New Construction and Major Renovations and Reclamation-specific (RS) SB requirements. Although not required, if U.S. Green Building Council (USGBC) Leadership in Energy and Environmental Design (LEED) rating system for 3rd party certification is being sought, a separate LEED checklist should be used and is provided on Reclamation's Sustainable Building webpage at:
http://www.usbr.gov/sustainablebuildings/tools.html
Since there is overlap between the Guiding Principles (GP)s, RS SB requirements and LEED, the checklists within this workbook provide a crosswalk between the GP and RS requirements and the related LEED credits.
There is 1 worksheet for building information:
The Building Information worksheet automatically populates relevant information into subsequent worksheets.
There is 1 primary Reclamation worksheet to document GP compliance:
The Reclamation GP Checklist for New Construction and Major Renovations (RGPC-NC) describes each GP requirement. The completion of this form is required for official certification and documentation of compliance with the GPs.
There is 1 primary RS worksheet:
The RS Checklist for NC desribes each RS requirement. The completion of this form is required for official verification and documentation of compliance with the RSs.
The following worksheets are provided for information purposes as follows:
a | The BOR SB NC Summary provides a shortened summary list of all requirements and the project phase in which the requirement is addressed.
b | The Historic Guidance provides information on major renovations of historic buildings.
How to Use
= boxes that require user input
= boxes that provide information and explanation
= boxes for SBT level input, if an exemption sought
= input error detected in associated cells (e.g. not allowed to enter both "meets" and "does not meet"
Printing: The sheets are formatted for printing in whatever is the optimal size (8.5x11 or 11x17). The checklists should be printed 11x17 or larger.
Status / Change Log
GP NC version |  | 2008-12-01 | with E.O. 13514 updates
LEED NC Version |  | 2009 | referenced in the LEED x-walk
Last Edit |  | 2013-04-05
Since the original checklist was developed, the GP and RS requirements have not changed, but they have been re-arranged and edited. RS requirement 1a and 1b have been combined. There has been a variety of formatting work including signature blocks, columns for appropriate positions to mark GP incorporation and review, etc. The most significant change has been separating the RSs from the GPs and eliminating the requirement for certificatoin from a third-party sustainable building rating system (e.g. LEED).
Comments & Help
This file is maintained by SBT members Steve Dundorf, Technial Service Center and Kerry Whitford, Policy and Administration Office. Please call or Email if you have comments or questions (303)445-2263, sdundorf@usbr.gov, (303)445-2949, kwhitford@usbr.gov.

## Building Information
Building Information
Agency | U.S. Department of the Interior (DOI)
Bureau | Bureau of Reclamation (BOR)
Region
Area/Field Office
Facility Name
Building Name
FRPP Unique Property Identifier
Real Property Type | select one |  | Real Property Type | Building Predominant Use Category | Real Property Type | Construction Type | Historic Building Classification
Real Property Predominant Use (Buildings Only) | select one |  | select one | select one | select one | select | select one
City |  |  | Building | All Other (80) | New Construction | Yes | Historic
State |  |  | Structure | Communication Systems (72) | Major Renovation | No | Not Historic
Zip Code |  |  |  | Dormitories / Barracks (31) |  |  | Not Yet Evaluated
Gross Square Footage (ft2) |  |  |  | Family Housing (30)
Construction Type | select one |  |  | Hospital (21)
Does the Building include a Lab? | select |  |  | Industrial (50)
Historic building classification (Major Renov. Only) | select one | If "Historic", follow the DOI guidance on historic assets. If "Not Yet Evaluated", consult the appropriate Cultural Resource Manager. |  | Laboratories (74)
Museum (28)
Navigation and Traffic Aids (73)
Office (10)
Other Institutional Uses (29)
Post Office (14)
School (23)
Service (60)
Warehouses (41)

## Reclamation GP Checklist for NC
0
0
Reclamation Guiding Principles Checklist for New Construction (RGPC-NC)
Design Version: |  |  | enter date
RGPC-NC Checklist Version: 04/05/2013
| "NC" = New Construction, "MR" = Major Renovation | [11 empty] | General Comments:
Building Lab included?
Historic building classification (Major Renovations Only)
[6 empty] | Design Team Lead |  |  | SBT | Project Manager
Focus Area | Requirement # |  | LEED x-walk | Requirement | Options Used (when options exist) | Not Applicable | Incorporated | Exemption Sought | Exemption Concurrence | Meets | Does Not Meet | Exempted | Requirement Description | Project Phase | Comments | Evidence of Compliance
Integrated Design | 1 | [11 empty] | Use a collaborative, integrated planning and design process that:
|  | a |  | Integrated Design - Design Team | [8 empty] | Initiates and maintains an integrated project team as described on the Whole Building Design Guide in all stages of a project's planning and delivery. | Design
|  | b |  | Integrated Design - Capital Asset Plan | [8 empty] | Integrates the use of OMB’s A-11, Section 7, Exhibit 300: Capital Asset Plan and Business Case Summary. | Design | Responsibility of Project Manager
|  | c |  | Integrated Design - Performance Goals | [8 empty] | Establishes performance goals for siting, energy, water, materials, and indoor environmental quality along with other comprehensive design goals and ensures incorporation of these goals throughout the design and lifecycle of the building. | All
|  | d |  | Integrated Design - Building Lifecycle | [8 empty] | Considers all stages of the building's lifecycle, including deconstruction. | Design
| 2 | [11 empty] | Employ commissioning practices tailored to the size and complexity of the building and its system components in order to verify performance of building components and systems and help ensure that design requirements are met. This should include the following (below):
|  | a | EA p1 | Commissioning - Commissioning Agent | [8 empty] | Experienced commissioning provider | Design & Construction
|  | b | EA p1 | Commissioning - Construction Documents | [8 empty] | Inclusion of commissioning requirements in construction documents | Design
|  | c | EA p1 | Commissioning - Plan | [8 empty] | Commissioning plan | Design
|  | d | EA p1 | Commissioning - Verification | [8 empty] | Verification of the installation and performance of systems to be commissioned | Construction | Responsibility of Project Manager
|  | e | EA p1 | Commissioning - Report | [8 empty] | Commissioning report | Construction | Responsibility of Project Manager
Water Quality and Performance | 1 | a | WE p1 | Indoor Water - Water use Reduction | [8 empty] | Employ strategies that in aggregate use a minimum of 20% less potable water than the indoor water use baseline calculated for the building, after meeting the EPAct 1992, Uniform Plumbing Codes 2006, and the International Plumbing Codes 2006 fixture performance requirements. | Design
|  | b |  | Indoor Water - Water Meters | [8 empty] | The installation of water meters is encouraged to allow for the management of water use during occupancy. | Design
|  | c | WE 2 | Indoor Water - Water Reuse | [8 empty] | The use of harvested rainwater, treated wastewater, air conditioner condensate should also be considered and used where feasible for nonpotable use and potable use where allowed. | Design
| 2 | a | WE 1 | Outdoor Water - Efficient Landscape & Irrigation | [8 empty] | Use water efficient landscape and irrigation strategies, such as water reuse, recycling, and the use of harvested rainwater, to reduce outdoor potable water consumption by a minimum of 50% over that consumed by conventional means (plant species and plant densities). | Design
|  | b |  | Outdoor Water - Water Meters | [8 empty] | The installation of water meters for locations with significant outdoor water use is encouraged. | Design
|  | c |  | Outdoor Water - Restore Hydrology | [8 empty] | Per EISA Section 438, to the maximum extent technically feasible, maintain or restore the predevelopment hydrology of the site with regard to temperature, rate, volume, duration of flow using site planning, design, construction, and maintenance strategies | Design
|  | d | SS 6.1 6.2 | Outdoor Water - Stormwater Runoff | [8 empty] | Employ design and construction strategies that reduce storm water runoff and discharges of polluted water offsite. | Design
| 3 |  |  | Process Water | [8 empty] | Per the Energy Policy Act of 2005 Section 109, when potable water is used to improve a building’s energy efficiency, deploy lifecycle cost effective water conservation measures. | Design
| 4 | a |  | Water Efficient Products - WaterSense Products | [8 empty] | Specify EPA’s WaterSense-labeled products or other water conserving products, where available. | Design
|  | b |  | Water Efficient Products - WaterSense Irrigation Contractors | [8 empty] | Choose irrigation contractors who are certified through a WaterSense labeled program. | Design
Energy Performance | 1 | a |  | Energy Efficiency - Whole Building Performance Target | [8 empty] | Establish a whole building performance target that takes into account the intended use, occupancy, operations, plug loads, other energy demands | Design
|  | b |  | Energy Efficiency - Energy Star Targets | [8 empty] | Design to earn the ENERGY STAR® targets for new construction and major renovation where applicable. | Design
|  | c |  | Energy Efficiency - Energy Star & FEMP Products | [8 empty] | Use ENERGY STAR® and FEMP-designated Energy Efficient Products, where available. | Design
|  | d | EA 1 | Energy Efficiency - Energy Reduction (NC) 30% | [8 empty] | New construction: reduce the energy use by 30% compared to the baseline building performance rating per the American National Standards Institute (ANSI)/American Society of Heating, Refrigerating and Air-Conditioning Engineers, Inc., (ASHRAE)/Illuminating Engineering Society of North America (IESNA) Standard 90.1-2007, Energy Standard for Buildings Except Low-Rise Residential. | Design
|  | e | EA 1 | Energy Efficiency - Energy Reduction (Major Renov) 20% | [8 empty] | Major renovations: reduce the energy use by 20% below pre-renovations 2003 baseline. | Design
|  | f |  | Energy Efficiency - Energy Reduction (Labs) | [8 empty] | Laboratory spaces may use the Labs21 Laboratory Modeling Guidelines. | Design
| 2 | a | EA 2 | On-Site Renewable Energy - Solar Thermal | [8 empty] | Per the Energy Independence and Security Act (EISA) Section 523, meet at least 30% of the hot water demand through the installation of solar hot water heaters, when lifecycle cost effective. | Design
|  | b | EA 2 | On-Site Renewable Energy - General | [8 empty] | Per Executive Order 13423, implement renewable energy generation projects on agency property for agency use, when lifecycle cost effective. | Design
| 3 | a |  | Measurement and Verification - Electricity Meters | [8 empty] | Per the Energy Policy Act of 2005 (EPAct) Section 103, install building level electricity meters in new major construction and renovation projects to track and continuously optimize performance. | Design
|  | b |  | Measurement and Verification - Natural Gas and Steam Meters | [8 empty] | Per EISA Section 434, include equivalent meters for natural gas and steam, where natural gas and steam are used. | Design
| 4 |  |  | Benchmarking | [8 empty] | Compare actual performance data from the first year of operation with the energy design target, preferably by using ENERGY STAR® Portfolio Manager for building and space types covered by ENERGY STAR®. For other building and space types, use an equivalent benchmarking tool such as the Labs21 benchmarking tool for laboratory buildings. | O&M | Responsibility of Green Team / Project Manager
OPTION 1 - Verify that the building performance meets or exceeds the design target
OPTION 2 - Verify that the actual energy use is within 10% of the design energy budget for all other building types.
Materials Selection | 1 | a | MR 4 | Recycled Content - EPA Designated | [8 empty] | Per Section 6002 of the Resource Conservation and Recovery Act (RCRA), for EPA-designated products, specify products meeting or exceeding EPA's recycled content recommendations. If EPA-designated products meet performance requirements and are available at a reasonable cost, a preference for purchasing them shall be included in all solicitations relevant to construction, operation, maintenance of or use in the building. | Design
|  | b | MR 4 | Recycled Content - Recycled Content | [8 empty] | For other products, specify materials with recycled content when practicable. | Design
| 2 | a |  | Biobased Content - USDA Designated | [8 empty] | Per Section 9002 of the Farm Security and Rural Investment Act (FSRIA), for USDA-designated products, specify products with the highest content level per USDA's biobased content recommendations. If these designated products meet performance requirements and are available at a reasonable cost, a preference for purchasing them shall be included in all solicitations relevant to construction, operation, maintenance of or use in the building. | Design
|  | b | MR 6 | Biobased Content - Rapidly Renewable | [8 empty] | For other products, specify biobased products made from rapidly renewable resources | Design
|  | c | MR 7 | Biobased Content - Certified Wood | [8 empty] | For other products, specify biobased products made from certified sustainable wood products | Design
| 3 |  |  | Environmentally Preferable Products | [8 empty] | Use products that have a lesser or reduced effect on human health and the environment over their lifecycle when compared with competing products or services that serve the same purpose. | Design
| 4 | a | MR p1 | Waste & Materials Management - Recycling | [8 empty] | Incorporate adequate space, equipment, and transport accommodations for recycling in the building design. | Design
|  | b |  | Waste & Materials Management - Construction Recycling Services | [8 empty] | During a project's planning stage, identify local recycling and salvage operations that could process site-related construction and demolition materials. | Design
|  | c | MR 2 | Waste & Materials Management - Construction Recycling & Reuse | [8 empty] | During construction, recycle or salvage at least 50% of the non-hazardous construction, demolition and land clearing materials, excluding soil, where markets or onsite recycling opportunities exist. | Design & Construction
|  | d |  | Waste & Materials Management - Major Renov Recycling & Reuse | [8 empty] | Major Renovations: Provide salvage, reuse and recycling services for waste generated, where markets or onsite recycling opportunities exist. | Design & Construction
| 5 |  | EA p3 | Ozone Depleting Compounds | [8 empty] | Eliminate the use of ozone depleting compounds during and after construction where alternative environmentally preferable products are available, consistent with either the Montreal Protocol and Title VI of the Clean Air Act Amendments of 1990, or equivalent overall air quality benefits that take into account lifecycle impacts. | Design
Indoor Environmental Quality | 1 | a | IEQ 7.1 | Ventilation and Thermal Comfort - Thermal Conditions | [8 empty] | Meet ASHRAE Standard 55-2004, Thermal Environmental Conditions for Human Occupancy, including continuous humidity control within established ranges per climate zone | Design
|  | b |  | Ventilation and Thermal Comfort - Ventilation | [8 empty] | Meet ASHRAE Standard 62.1-2007, Ventilation for Acceptable Indoor Air Quality. | Design
| 2 |  | IEQ 3.1 #2 | Moisture Control | [8 empty] | Establish and implement a moisture control strategy for controlling moisture flows and condensation to prevent building damage, minimize mold contamination, and reduce health risks related to moisture. | Design & Construction
| 3 | a | IEQ 8.1 Opt 1 | Daylighting - Daylight Factor | [8 empty] | Achieve minimum daylight factor of 2% (excluding all direct sunlight penetration) in 75% of all space occupied for critical visual tasks. | Design
|  | b | IEQ 6.1, 8.1 | Daylighting - Lighting Controls | [8 empty] | OPTION 1 - Provide Automatic dimming controls | Design
OPTION 2 - Provide Accessible manual lighting controls
|  | c | IEQ 8.1 | Daylighting - Glare Controls | [8 empty] | Provide appropriate glare control | Design
| 4 |  | IEQ 4.1, 4.2,4.3,4.4 | Low-Emitting Materials | [8 empty] | Specify materials and products with low pollutant emissions, including composite wood products, adhesives, sealants, interior paints and finishes, carpet systems, and furnishings. | Design
| 5 | a | IEQ 3.1, #1 | Protect Indoor Air Quality during Construction - SMACNA | [8 empty] | Follow the recommended approach of the Sheet Metal and Air Conditioning Contractor's National Association Indoor Air Quality Guidelines for Occupied Buildings under Construction, 2007. | Design & Construction
|  | b | IEQ 3.2, #1 | Protect Indoor Air Quality during Construction - Pre-Occupancy Flush Out | [8 empty] | After construction and prior to occupancy, conduct a minimum 72-hour flush-out with maximum outdoor air consistent with achieving relative humidity no greater than 60%. | Design & Construction
|  | c |  | Protect Indoor Air Quality during Construction - Post-Occupancy Flush Out | [8 empty] | After occupancy, continue flush-out as necessary to minimize exposure to contaminants from new building materials. | O&M | Responsibility of Green Team / Project Manager
| 6 | a | IEQ p2 | Environmental Tobacco Smoke - Inside | [8 empty] | Implement a policy and post signage indicating that smoking is prohibited within the building. | Design
|  | b |  | Environmental Tobacco Smoke - Outside | [8 empty] | Smoking is prohibited within 25 ft of all building entrances, operable windows, and building ventilation intakes during building occupancy. | Design
Signatures
Design Team Lead or Sustainable Building Professional
By signing, I affirm that I have complied with all requirements for the Design Team Lead or Sustainable Building Professional in Reclamation Manual Directive and Standard (D&S), "Guiding Principles for Sustainable Construction, Renovation, Operations, and Leasing of Bureau of Reclamation Building Assets" (ENV TRMR-##).
Name | [6 empty] | Date | [5 empty] | Printed Name, Title & Affiliation
Project Manager
By signing, I affirm that I have complied with all requirements for the Project Manager in Reclamation Manual Directive and Standard (D&S), "Guiding Principles for Sustainable Construction, Renovation, Operations, and Leasing of Bureau of Reclamation Building Assets" (ENV TRMR-##).
Name | [6 empty] | Date | [5 empty] | Printed Name, Title & Office
Manager
By signing, I affirm that I have complied with all requirements for the appropriate manager (e.g. field or area office manager) in Reclamation Manual Directive and Standard (D&S), "Guiding Principles for Sustainable Construction, Renovation, Operations, and Leasing of Bureau of Reclamation Building Assets" (ENV TRMR-##).
Name | [6 empty] | Date | [5 empty] | Printed Name, Title & Office
Approving Official
Note: "Approving Official" is defined in Reclamation Sustainable Buildings D&S
By signing, I affirm that I have complied with all requirements for the Approving Official in Reclamation Manual, Directive and Standard "Guiding Principles for Sustainable Construction, Renovation, Operations, and Leasing of Bureau of Reclamation Building Assets" (ENV TRMR-##).
Name | [6 empty] | Date | [5 empty] | Printed Name, Title & Office
|  |  |  | Guiding Principles | Not Applicable | Incorporated | Exemption Sought | Exemption Concurrence | Meets | Does Not Meet | Exempted | Total (Not Exempted) | Total
|  |  |  | Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53 | 53
[5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | Integrated O&M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 9
[5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | 16.98%
|  |  |  | Water Quality & Performance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 10
[5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | 18.87%
|  |  |  | Energy Performance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11
[5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | 20.75%
|  |  |  | Materials Selection | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11
[5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | 20.75%
|  |  |  | Indoor Environmental Quality | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 12
[5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | 22.64%
Breakdown of All GPs
|  |  |  | IOM | 9
|  |  |  | WQP | 10
|  |  |  | EP | 11
|  |  |  | MS | 11
|  |  |  | IEQ | 12
Design Team
|  |  |  | Not a Design Team GP | 5
|  |  |  | Not Addressed to Date | 48
|  |  |  | Not Applicable | 0
|  |  |  | Incorporated | 0
|  |  |  | Exemption Sought | 0
Project Manger
|  |  |  | Not Applicable | 0
|  |  |  | Achieved | 0
|  |  |  | Denied | 0
|  |  |  | Exempted | 0
Design Team Results
Project Manager Results
Note on A5: This is the version of the checklist as created by the Reclamation SBT and posted on the Reclamation website
Note on J11: SBT: Reclamation Sustainable Buildings Team
Note on D12: covered partailly or fully by a LEED credit
Note on G12: Not Applicable: (e.g. no lab in building, so can not use "Labs 21")
Note on I12: Exemption: Requirements may be exempted if they violate building codes, are not available (e.g. Energy Saving Performance Contract)
Note on J12: Enter either "Y" or "N". The SBT will provide comments if it does not concur with an exemption. The designer/engineer should then incorporate into the design based on the comments and remove the exempt status.
Note on K12: Achieved (Meets) For the case where a GP is marked as "Not Applicable", the Program Manager marks this as "Achieved" if he/she agrees that it is not applicable or "Denied" if he/she disagrees.
Note on D19: Relevant LEED: EA p1 Compliance by:
Note on D20: Relevant LEED: EA P1 Compliance by:
Note on D21: Relevant LEED: EA P1 Compliance by:
Note on D22: Relevant LEED: EA P1 Compliance by:
Note on D23: Relevant LEED: EA P1 Compliance by:
Note on D24: Relevant LEED: WE p1 Compliance by:
Note on D26: Relevant LEED: WE c2 Compliance by:
Note on D27: Relevant LEED: WE c1 Compliance by:
Note on D30: Relevant LEED: SS c6.1 & c6.2 Compliance by:
Note on N35: What target level? http://www.energystar.gov/index.cfm?c=new_bldg_design.bus_target_finder
Note on D37: Relevant LEED: EA c1 Compliance by:
Note on D38: Relevant LEED: EA c1 Compliance by:
Note on D40: Relevant LEED: EA c2 Compliance by:
Note on D41: Relevant LEED: EA c2 Compliance by:
Note on D47: Relevant LEED: MR C4 Compliance by:
Note on D48: Relevant LEED: MR C4 Compliance by:
Note on D50: Relevant LEED: MR C6 Compliance by:
Note on D51: Relevant LEED: MR C7 Compliance by:
Note on D53: Relevant LEED: MR P1 Compliance by:
Note on D55: Relevant LEED: MR C2 Compliance by:
Note on D57: Relevant LEED: EA P3 Compliance by:
Note on D58: Relevant LEED: IEQ 7.1 Compliance by:
Note on D60: Relevant LEED: IEQ 3.1, #2 Compliance by:
Note on D61: Relevant LEED: IEQ 8.1, Option 1 (but 2% Daylight Factor in 75%) part Compliance by:
Note on D62: Relevant GP: IEQ 6.1, individual lighting controls Compliance by: Relevant LEED: IEQ 8.1, Auto dimming or accessible manual switching part Compliance by:
Note on D64: Relevant LEED: IEQ 8.1, Glare Control part Compliance by:
Note on D65: Relevant LEED: IEQ 4.1, 4.2, 4.3, 4.4 (LEED is more stringent) Compliance by:
Note on D66: Relevant GP: IEQ 3.2, #1 (Path 1, but for 72 hr instead of 14,000) Compliance by:
Note on D67: Relevant LEED: IEQ 3.2, #1 Compliance by:
Note on D69: Relevant LEED: IEQ 2 Compliance by:

## RS Checklist for NC
0
0
Reclamation Specific (RS) Focus Areas and Initiatives Checklist for New Construction
Design Version: | enter date
RS Focus Areas & Initiatives Checklist Version: 04/05/2013
General Comments:
"NC" = New Construction, "MR" = Major Renovation
Historic building classification (Major Renovations Only)
[5 empty] | Design Team Lead |  |  | SBT | Project Manager
Focus Area | Requirement # |  | LEED x-walk | Requirement | Not Applicable | Incorporated | Exemption Sought | Exemption Concurrence | Meets | Does Not Meet | Exempted | Requirement Description | Project Phase | Comments | Evidence of Compliance
Integrated Design | 1 |  |  | Integrated Design - Green Teams | [7 empty] | At or before building commissioning and occupation, establish a "Green Team" to ensure continued long-term sustainable operations (Source: BOR Focus Area). | All | Resposibility of Area Office Manager
Sustainable Sites | 1 |  | SS 5.1 | Protect & Restore Habitat | [7 empty] | Clearly mark construction boundaries to limit impacts to undisturbed ares within the existing site. Restore previously degraded areas with native/adaptive vegetation (Source: BOR Focus Area). | Design
| 2 |  | SS 5.2 | Maximize Open Space | [7 empty] | Maximize open space by exceeding open space zoning requirements or increasing the ratio of open space to building footprint (Source: BOR Focus Area) | Design
| 3 | a | SS 7.1 | Heat Island Effect - Non-Roof | [7 empty] | Reduce the heat island effect from hardscapes by implementing one or more of the following techniques shading from trees, structures with solar panels, structures with cool roofs, reflective hardscape materials with SRI of 29, and open grid pavement systems (Source: BOR Focus Area) | Design
|  | b | SS 7.2 | Heat Island Effect - Roof | [7 empty] | Reduce the heat island effect from roofs by implementing one or more of the following techniques cool roofs, green roofs, and solar panels on roofs (Source: BOR Focus Area & E.O. 13514) | Design
| 4 |  | SS 8 | Light Pollution Reduction | [7 empty] | Minimize light pollution from both inside and outside the building. Minimize light crossing site boundaries and shining above horizontal to ensure a dark sky (Source: BOR Focus Area) | Design
WQ and Performance | 1 |  |  | Water Efficiency - Cost-Benefit | [7 empty] | Apply a cost-benefit approach for major water-efficiency features including rainwater collection and grey water reuse (Source: BOR Initiative) | Design
Energy Performance | 1 |  |  | Energy Efficiency - Modeling & Cost-Benefit Analysis | [7 empty] | Use an energy model and cost-benefit approach to determine the most cost effective energy efficient features to use. Include at a minimum, building envelope and HVAC systems (Source: BOR Initiative). | Design
| 2 |  |  | Energy Contracts | [7 empty] | Consider use of Energy Savings Performance Contracts and Utility Energy Savings Contracts where available (Source: BOR Initiative). | Design
Materials Selection | 1 |  |  | Waste & Materials Management - Composting | [7 empty] | If composting services are available and composting material generation sufficient, incorporate adequate space, equipment, and transport accommodations to facilitate on-site or off-site composting (Source: E.O. 13514). | Design
Signatures
Design Team Lead or Sustainable Building Professional
By signing, I affirm that I have complied with all requirements for the Design Team Lead or Sustainable Building Professional in Reclamation Manual Directive and Standard (D&S), "Guiding Principles for Sustainable Construction, Renovation, Operations, and Leasing of Bureau of Reclamation Building Assets" (ENV TRMR-##).
Name | [5 empty] | Date | [5 empty] | Printed Name, Title & Affiliation
Project Manager
By signing, I affirm that I have complied with all requirements for the Project Manager in Reclamation Manual Directive and Standard (D&S), "Guiding Principles for Sustainable Construction, Renovation, Operations, and Leasing of Bureau of Reclamation Building Assets" (ENV TRMR-##).
Name | [5 empty] | Date | [5 empty] | Printed Name, Title & Office
Manager
By signing, I affirm that I have complied with all requirements for the appropriate manager (e.g. field or area office manager) in Reclamation Manual Directive and Standard (D&S), "Guiding Principles for Sustainable Construction, Renovation, Operations, and Leasing of Bureau of Reclamation Building Assets" (ENV TRMR-##).
Name | [5 empty] | Date | [5 empty] | Printed Name, Title & Office
Approving Official
Note: "Approving Official" is defined in Reclamation Sustainable Buildings D&S
By signing, I affirm that I have complied with all requirements for the Approving Official in Reclamation Manual Directive and Standard (D&S), "Guiding Principles for Sustainable Construction, Renovation, Operations, and Leasing of Bureau of Reclamation Building Assets" (ENV TRMR-##).
Name | [5 empty] | Date | [5 empty] | Printed Name, Title & Office
|  |  |  | Reclamation Specific | Not Applicable | Incorporated | Exemption Sought | Exemption Concurrence | Meets | Does Not Meet | Exempted | Total (Non-Exempt) | Total
|  |  |  | Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 10
[5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | Integrated O&M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
[5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | Sustainable Sites | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 5
[5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | Water Quality & Performance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
[5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | Energy Performance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2
[5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  |  | Materials Selection | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
[5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Breakdown of All RSs
|  |  |  | IOM | 1
|  |  |  | SS | 5
|  |  |  | WQP | 1
|  |  |  | EP | 2
|  |  |  | MS | 1
Design Team
|  |  |  | Not a Design Team GP | 10
|  |  |  | Not Applicable | 0
|  |  |  | Incorporated | 0
|  |  |  | Exemption Sought | 0
Project Manger
|  |  |  | Not Applicable | 0
|  |  |  | Achieved | 0
|  |  |  | Denied | 0
|  |  |  | Exempted | 0
Design Team Results
Project Manager Results
Note on I10: SBT: Reclamation Sustainable Buildings Team
Note on D11: covered partailly or fully by a LEED credit
Note on H11: Exemption: Requirements may be exempted if they violate building codes, are not available (e.g. Energy Saving Performance Contract), or do not apply (e.g. no lab in building, so can not use "Labs 21")
Note on I11: Enter either "Y" or "N". The SBT will provide comments if it does not concur with an exemption. The designer/engineer should then incorporate into the design based on the comments and remove the exempt status.
Note on D13: Relevant LEED: SS c5.1 Compliance by:
Note on D14: Relevant LEED: SS c5.2 Compliance by:
Note on D15: Relevant LEED: SS c7.1 Compliance by:
Note on D16: Relevant LEED: SS c7.2 Compliance by:
Note on D17: Relevant LEED: SS c8 Compliance by:

## a) Reclamation SB NC Summary
Reclamation Sustainable Buildings NC Requirements Summary
Template Version: 04/01/2013
Notes: LEED x-walk items are GPs that are covered partailly or fully by a LEED credit
Guiding Principles
Focus Area | Requirement # |  | LEED x-walk | Requirement | Project Phase
Integrated Design | 1 | a |  | Integrated Design - Design Team | Design
|  | b |  | Integrated Design - Capital Asset Plan | Design
|  | c |  | Integrated Design - Performance Goals | All
|  | d |  | Integrated Design - Building Lifecycle | Design
| 2 | a | Y | Commissioning - Commissioning Agent | Design & Construction
|  | b | Y | Commissioning - Construction Documents | Design
|  | c | Y | Commissioning - Plan | Design
|  | d | Y | Commissioning - Verification | Construction
|  | e | Y | Commissioning - Report | Construction
Water Quality and Performance | 1 | a | Y | Indoor Water - Water use Reduction | Design
|  | b |  | Indoor Water - Water Meters | Design
|  | c | Y | Indoor Water - Water Reuse | Design
| 2 | a | Y | Outdoor Water - Efficient Landscape & Irrigation | Design
|  | b |  | Outdoor Water - Water Meters | Design
|  | c |  | Outdoor Water - Restore Hydrology | Design
|  | d | Y | Outdoor Water - Stormwater Runoff | Design
| 3 |  |  | Process Water | Design
| 4 | a |  | Water Efficient Products - WaterSense Products | Design
|  | b |  | Water Efficient Products - WaterSense Irrigation Contractors | Design
Energy Performance | 1 | a |  | Energy Efficiency - Whole Building Performance Target | Design
|  | b |  | Energy Efficiency - Energy Star Targets | Design
|  | c |  | Energy Efficiency - Energy Star & FEMP Products | Design
|  | d | Y | Energy Efficiency - Energy Reduction (NC) 30% | Design
|  | e | Y | Energy Efficiency - Energy Reduction (Major Renov) 20% | Design
|  | f |  | Energy Efficiency - Energy Reduction (Labs) | Design
| 2 | a | Y | On-Site Renewable Energy - Solar Thermal | Design
|  | b | Y | On-Site Renewable Energy - General | Design
| 3 | a |  | Measurement and Verification - Electricity Meters | Design
|  | b |  | Measurement and Verification - Natural Gas and Steam Meters | Design
| 4 |  |  | Benchmarking | O&M
Materials Selection | 1 | a | Y | Recycled Content - EPA Designated | Design
|  | b | Y | Recycled Content - Recycled Content | Design
| 2 | a |  | Biobased Content - USDA Designated | Design
|  | b | Y | Biobased Content - Rapidly Renewable | Design
|  | c | Y | Biobased Content - Certified Wood | Design
| 3 |  |  | Environmentally Preferable Products | Design
| 4 | a | Y | Waste & Materials Management - Recycling | Design
|  | b |  | Waste & Materials Management - Construction Recycling Services | Design
|  | c | Y | Waste & Materials Management - Construction Recycling & Reuse | Design
|  | d |  | Waste & Materials Management - Major Renov Recycling & Reuse | Design
| 5 |  | Y | Ozone Depleting Compounds | Design
Indoor Environmental Quality | 1 | a | Y | Ventilation and Thermal Comfort - Thermal Conditions | Design
|  | b |  | Ventilation and Thermal Comfort - Ventilation | Design
| 2 |  | Y | Moisture Control | Design
| 3 | a | Y | Daylighting - Daylight Factor | Design
|  | b | Y | Daylighting - Lighting Controls | Design
|  | c | Y | Daylighting - Glare Controls | Design
| 4 |  | Y | Low-Emitting Materials | Design
| 5 | a | Y | Protect Indoor Air Quality during Construction - SMACNA | Design & Construction
|  | b | Y | Protect Indoor Air Quality during Construction - Pre-Occupancy Flush Out | Design & Construction
|  | c |  | Protect Indoor Air Quality during Construction - Post-Occupancy Flush Out | O&M
| 6 | a | Y | Environmental Tobacco Smoke - Inside | Design
|  | b |  | Environmental Tobacco Smoke - Outside | Design
Reclamation Specific Focus Areas and Initiatives and other Federal Requirements
Integrated Design | 1 |  |  | Integrated Design - Green Teams | All
Sustainable Sites | 1 |  | Y | Protect & Restore Habitat | Design
| 2 |  | Y | Maximize Open Space | Design
| 3 | a | Y | Heat Island Effect - Non-Roof | Design
|  | b | Y | Heat Island Effect - Roof | Design
| 4 |  | Y | Light Pollution Reduction | Design
WQ and Performance | 1 |  |  | Water Efficiency - Cost-Benefit | Design
Energy Performance | 1 |  |  | Energy Efficiency - Modeling & Cost-Benefit Analysis | Design
| 2 |  |  | Energy Contracts | Design
Materials Selection | 1 |  |  | Waste & Materials Management - Composting | Design
Note on D11: Relevant LEED: EA P1 Compliance by:
Note on D16: Relevant LEED: WE p1 Compliance by:
Note on D18: Relevant LEED: WE c2 Compliance by:
Note on D19: Relevant LEED: WE c1 Compliance by:
Note on D22: Relevant LEED: SS c6.1 & c6.2 Compliance by:
Note on D29: Relevant LEED: EA C1 Compliance by:
Note on D30: Relevant LEED: EA C1 Compliance by:
Note on D32: Relevant LEED: EA C2 Compliance by:
Note on D33: Relevant LEED: EA C2 Compliance by:
Note on D37: Relevant LEED: MR C4 Compliance by:
Note on D38: Relevant LEED: MR C4 Compliance by:
Note on D40: Relevant LEED: MR C6 Compliance by:
Note on D41: Relevant LEED: MR C7 Compliance by:
Note on D43: Relevant LEED: MR P1 Compliance by:
Note on D45: Relevant LEED: MR C2 Compliance by:
Note on D47: Relevant LEED: EA P3 Compliance by:
Note on D48: Relevant LEED: IEQ 7.1 Compliance by:
Note on D50: Relevant LEED: IEQ 3.1, #2 Compliance by:
Note on D51: Relevant LEED: IEQ 8.1, Option 1 (but 2% Daylight Factor in 75%) part Compliance by:
Note on D52: Relevant GP: IEQ 6.1, individual lighting controls Compliance by: Relevant LEED: IEQ 8.1, Auto dimming or accessible manual switching part Compliance by:
Note on D53: Relevant LEED: IEQ 8.1, Glare Control part Compliance by:
Note on D54: Relevant LEED: IEQ 4.1, 4.2, 4.3, 4.4 (LEED is more stringent) Compliance by:
Note on D55: Relevant GP: IEQ 3.2, #1 (Path 1, but for 72 hr instead of 14,000) Compliance by:
Note on D56: Relevant LEED: IEQ 3.1, #1 Compliance by:
Note on D58: Relevant LEED: IEQ 2 Compliance by:
Note on D63: Relevant LEED: SS c5.1 Compliance by:
Note on D64: Relevant LEED: SS c5.2 Compliance by:
Note on D65: Relevant LEED: SS c7.1 Compliance by:
Note on D66: Relevant LEED: SS c7.2 Compliance by:
Note on D67: Relevant LEED: SS c8 Compliance by:

## b) Historic Guidance
Guidance on the Major Rehabilitation of Historic Buildings
2012-10-18
Is the building historic? Is it eligible for or listed in the National Register of Historic Places or is it a National Historic Landmark? If so, the requirements listed in this worksheet must be followed.
Prior to planning designs for major rehabilitation, the project manager must consult the Federal Real Property Profile (FRPP) to determine the historic status of the building. If the Historic Status of a building is (1) National Historic Landmark, (2) National Register Listed, or (3) National Register Eligible, and listed on or eligible for listing on the National Register of Historic Places, the project manager shall consult with the appropriate regional and/or area office Cultural Resource Management (CRM) professional. If sustainability actions are proposed for these buildings, Reclamation must comply with Section 106 of the National Historic Preservation Act, 36 CFR part 800:
See http://www.achp.gov/regs-rev04.pdf
and RM D&S, Cultural Resources Management (LND 02-01 ):
http://www.usbr.gov/recman/lnd/lnd02-01.pdf
See also Historic Guidance and Historic Definitions tabs in the Reclamation Guiding Principle Checklist - Existing Buildings for key questions and considerations to determine and mitigate potential impacts to historic buildings as related to each Guiding Principle requirement.
Major rehabilitiation of buildings categorized in the FRPP as (4), Non-contributing Element of NHL/NRL District, should be reviewed for potential adverse impacts to the historic character of the district. If the Historic Status of a building is categorized as (5), Not Evaluated, then steps must be taken to consult with the appropriate CRM profesional to evaluate the building for its eligibility on the National Register of Historic Places. If the Historic Status of a building is categorized as (6), Evaluated - Not Historic, then the building is not subject to the Historic Building requirements.
For historic buildings, rehabilitation is equivalent to renovation. For a definition of rehabilitation and more information on proper rehabilitation techniques for historic buildings and historic building materials, refer to the Secretary of the Interior's Standards for Rehabilitation With Guidelines for Rehabilitating Historic Buildings:
http://www.nps.gov/tps/index.htm
For basic guidance on defining the character of a historic building, refer to Preservation Brief 17 - Architectural Character - Identifying the Visual Aspects of Historic Buildings as an Aid to Preserving Their Character: http://www.nps.gov/history/hps/tps/briefs/brief17.htm For a topical index of preservation-related publications, please reference Technical Preservation Services' Publications and Online Materials:
http://www.nps.gov/tps/index.htm
For each Guiding Principle and subtopic that applies to historic buildings, the key question to keep in mind is, "Will the proposed changes maintain the historic character and integrity of the building?" If no, evaluate whether proposed changes can be modified so that the changes to the historic character and integrity of the building are minimized.