Reclamation Sustainable Design Requirements Flowchart 
for Structures (New Construction and Major Renovations)

# Text boxes

04/04/2013

Must meet sustainable purchasing requirements 1a, 1b

Note:  For any project using appropriated funds

Does structure have occupied spaces?

(Go Both Directions)

Yes

No

No

Will Reclamation own the structure?

Note:  “Transferred Works” projects are still owned by Reclamation.

Should consider the “Guiding Principles” and implement where cost effective 4, 5

Yes

No sustainable design requirements unless required by the owner

Will the disturbed ground area be 5,000 ft2 or more?

Note:  Disturbed ground area includes building footprint and all surrounding disturbed areas.

Must meet EISA 2007 site hydrology requirements 6

No

Yes

Will the structure be a “Reclamation EISA Covered Facility”?

Note:  Must pay for utilities (energy and/or water).  Since most structures receive free station power and water, this is an unlikely scenario.

No

Yes

Must meet Reclamation determined energy & water use requirements to meet EO 13514 greenhouse gas emissions and EISA requirements for Reclamation as a whole if being included in those calculations 2, 3

Definitions:

Transferred Works:  Buildings and structures owned by Reclamation, but operated by a non-Federal party under contract.

Reserved Works:  Buildings and structures owned, occupied, and operated by Reclamation.  While Reclamation is only currently include “Reserved Works” buildings in its energy reduction calculations for existing buildings, exempting transferred works does not apply to new construction.

EISA:  Energy Independence and Security Act of 2007

References

1a - Sustainable purchasing:  Procurement ET (see Procurement ET Attachment)

1b - Sustainable purchasing:  Sustainable Facilities Tool

2 - EISA Agency Energy Reduction:  EISA 2007 Section 431

3 - Greenhouse Gas Emissions:  EO 13514 Section 2

4 - Reclamation SBIP:  Reclamation Sustainable Buildings Website

5 - Guiding Principles Checklists:  Reclamation Sustainable Buildings Website

6 - Site Hydrology:  EISA 2007 Section 438

This document:  USBR Sustainable Buildings External Website