16.	Wetlands.  The Introduction (Chapter 1) for these design data collection guidelines contains additional information concerning:  preparing a design data collection request, design data collection requirements, and coordinating the design data collection and submittal.  Biological data other than that requested in this guideline may be required.  This section lists data which may be required for specifications design of wetlands projects.  The project team and the design team should review these guidelines to determine and assemble the final data request for a specific project.  All wetlands projects should involve appropriate specialists in biology, hydrology (surface and groundwater), landscape site planning, and/or water quality (chemical limnology) disciplines.  Depending on the scope and complexity, wetlands project plans should be developed or reviewed by a certified Professional Wetlands Scientist (PWS) or at a minimum by a member of the Society of Wetlands Scientists (SWS).

According to the U.S. Environmental Protection Agency:

- Wetlands – “those areas that are inundated or saturated by surface or ground water at a frequency and duration sufficient to support, and that under normal circumstances do support, a prevalence of vegetation typically adapted for life in saturated soil conditions.  Wetlands generally include swamps, marshes, bogs and similar areas.”

- Coastal Wetlands – “found along the Atlantic, Pacific, Alaskan, and Gulf coasts.  They are closely linked to our nation’s estuaries, where sea water mixes with fresh water to form an environment of varying salinities.”

- Inland Wetlands – “most common on floodplains along rivers and streams (riparian wetlands), in isolated depressions surrounded by dry land (for example, playas, basins, and “potholes”), along the margins of lakes and ponds, and in other low-lying areas where the ground water intercepts the soil surface where precipitation sufficiently saturates the soil (vernal pools and bogs).”

The following is a list of possible data required for design of wetlands:

A.	General Description of Proposed Wetlands Project:

  - General Map(s) Showing:

    - A key map locating the general map area.

    - The construction site or sites.

    - Reference sites (if used).

    - County and township lines.

    - Existing towns, residences, private property, highways, roads, bridges with special loads or size limitations, railroads and shipping points, public utilities such as electric power and telephone lines, pipelines, etc., and stream-gauging stations.

    - Locations for potential construction and permanent access roads, sites for contractor's staging areas, and construction facilities.

    - Locations of borrow areas for natural construction materials and disposal areas for waste excavation.

    - Existing or potential areas or features having a bearing on the design, construction, operation, or management of the project feature such as: recreation areas, fish and wildlife areas, building areas, areas of cultural sensitivity; and areas of archeological, historical and mining or paleontological interest.  The locations of these features should bear the parenthetical reference to the agency most concerned; for example, Reclamation.

    - Rights-of-way for construction, access, and staging areas.

    - Sources of construction power and power transmission facilities.

    - Buried utilities, pipelines, tanks, or other structures within the proposed construction site.

  - General Purpose and Function (Definitions are provided at the back of this section):

    - Discuss type of wetlands work:

      - Establishment of new wetlands.

      - Restoration of previously existing wetlands.

      - Enhancement or enlargement of an existing wetland.

      - Replacement for abandoned or displaced wetlands.

      - Protection and maintenance of existing wetlands.

    - State overall approach to resolving problems:

      - Watershed based.

      - Local area.

      - Both of the above.

      - Use natural or bioengineering approach or a combination of both.

    - Describe, in detail, any specific functional requirements and goals for the wetland:

      - Habitat restoration (restore habitat to a pre-existing condition) or creating a new wetlands:

        - Restore native species.

        - Create and sustain diverse habitats supporting diverse species.

        - Protect or re-establish threatened or endangered species.

        - Increase or improve wildlife habitat.

        - Increase or improve plant habitat.

        - Restore hydrologic and vegetative characteristics of altered meadows and riparian areas.

        - Requirements for removal of non-native plant or animal species.

      - River or land restoration:

        - Replace acres lost to manmade or naturally occurring activities or events.

        - Provide bank or shoreline protection.

        - Reduce loss of topsoil.

        - Facilitate onsite sediment disposal.

      - Facilitate fish passage and habitat requirements (create, restore, enhance).

      - Recreation:

        - Aesthetic needs or desires.

        - Facilitate or improve sporting activities (e.g., hunting, boating, fishing, camping, and bird watching).

      - Moderation of stream flows and flood protection:

        - Reduce peak flows.

        - Increase water retention.

        - Increase base flow.

      - Water treatment for instream flows, wastewater, and overland flows:

        - Reduce suspended sediment.

        - Remove nutrients and/or pollutants.

        - Prevent and correct pollution discharges.

    - Describe conditions envisioned immediately after construction and long term.

    - Type of wetlands (coastal, inland, bog, etc.).

  - Wetlands Project Requirements:

    - Describe the source(s) of water for the wetlands: river, reservoir, ground water, overland flow, or piped in.

    - Describe any specific Federal or State Regulations.

    - Provide desired review requirements of designs by other agencies including timeframe, period, or stage of design for the review and the level of the review.

    - Input from advisory groups and technical teams assembled to facilitate or oversee work.

    - Describe alternatives to be considered.

    - Describe pre-established requirements or preferences:

      - Potential location(s) of wetlands.

      - Area, shape, and depth requirements.

      - Importation of plants and/or animals.

      - Intentions to emulate conditions at an another existing site:

        - Location of existing site.

        - Description of desired conditions.

    - Descriptions of existing or future conditions that will have an impact on design, arrangement, and/or location of wetlands such as:

      - Commercial, industrial, residential, or agricultural development or operations in vicinity.

      - Current ground water conditions and potential future changes.

      - Potential changes in river channel conditions (e.g. flow, degradation, aggradation, bank erosion, etc.).

      - River control operations such as upstream dams and powerplants.

    - Description of  any known restrictions for construction, timing of construction, placement of facilities, water quality standards, duration of construction, preservation of existing vegetation and facilities, or construction access.

    - Proposed project timeframe.

    - Required provisions for public safety, accessibility, or visitor facilities.

    - Proposed vegetation and planting requirements:

      - Discuss the purpose(s) of the vegetation: habitat, water treatment, bank stability, re-establish original vegetation, feed for endangered species.

      - Specify seeding or planting requirements.

- Discuss how planting will be accomplished and whether planting can be accomplished by self-design (allowing volunteer wetland plants to be established without active planting efforts).

      - Furnish State or local restrictions concerning the use of soil herbicides, or local factors limiting their use.

      - Cost effectiveness of collecting vs. purchasing plant materials:

        - Discuss the availability of riparian shrub species growing locally on public land that could be harvested for cuttings if needed.

        - Practicality of collecting plants to be used in revegetation plan from: project site, other wetlands, other river sites.

      - Revegetation limitations:

        - Depth to ground water around shoreline.  Discuss how wide the band of moist soils is, how steeply soil moisture drops off, and the seasonality of the water table.

        - Ability of the soil immediately uphill of the shoreline to hold moisture, how fast draining the soil is based on texture or underlying geology.

      - Need for armoring the shoreline against wave action, particularly on a windy site or where there is a long fetch across a large water body.  Is plant material desired or is a hard material desired, or a combination of the two?

      - Irrigation or water control needs, based on water regime requirements of the plants that will be used, and local growing conditions.

      - Upland vegetation requirements:

        - The need for restoring and seeding cuts and fills and spoil banks.

        - Source of water for irrigation, if required.

      - Water treatment wetlands:

        - Desired goals for water treatment.

        - Shoreline gradient required or desired, if any.

        - Draw down requirements, seasonality and length of dry season.

        - Shoreline and upland requirements for wildlife considerations.

        - Suitable plants required and available for the wetlands.

        - Water control requirements: depth, flow, time passing through wetland.

        - Product water quality requirements (see “Water Quality” subsection and table 1 for water quality monitoring parameters).

    - Special requirements for the water body:

      - Water depth conditions. – Discuss the required water depth conditions and the ratios of those conditions, such as the amount of shallow benches in relation to deep water that is desired.  Give amounts of each water depth desired, specifically shallow benches, intermediate benches, and deep water; and the depth of water in inches or feet required for each condition.  Include a minimum required amount of water access for waterfowl, in linear feet.

      - Islands. – Discuss whether islands are desired and the purpose for them.  Include the required shoreline configuration of the landform to support those uses, such as shallow benches, etc.  Include the total acres desired to be designated to islands.

    - Operating and maintenance data requirements:

      - Anticipated adaptive management requirements if any.

      - Self sustainability requirements - Minimum or no maintenance requirements.

      - Details of required downstream control sections, measuring devices, gauging stations, or other operating works.

      - Standards by which to measure progress.

      - Vehicle or boat access requirements for maintenance.

      - Need for installed maintenance and handling facilities.

      - Facilities required to facilitate monitoring.

      - Availability of or need for permanent buildings for operating personnel.

  - Post-Construction Evaluation and Monitoring Requirements:

    - Baseline standards for evaluation.

    - Organization responsible for followup action if required.

- Coordination Requirements

(1)	Coordination/input requirements from other government and nongovernmental organizations and agencies.  Identify agencies and organizations which will have input into the design, construction, and operation of the wetland.  The roles and responsibilities of each party should be clearly defined.

(2)	Identify any “land use agreements”, or similar mechanisms which secure short- or long-term commitments by the parties to manage the site for a set of established objectives.  This should include issues related to water rights/entitlements which are anticipated for the management and operation of the wetland system.

- Specific Wetlands Project Considerations and Parameters:

  - Historic and Existing Site Conditions:

    - For projects where it is desired to simulate prior conditions, it is necessary to determine the historic time and conditions that are desired and feasible to simulate.

    - Old maps.

    - Interviews with residents.

    - Old photographs of the wetlands area.

    - Existing wetlands site and area vegetation:

      - Narrative description of existing site vegetation.

      - Dominant plant associations (group of plants that are common and growing on the site).

      - Habitat survey:

        - Community type.

        - Surface cover.

      - Describe endangered plant species growing on the site including where they are located.

      - A brief listing of the area's native tree, shrub, forb (a flowering plant, with a non-woody stem, that is not grass), and grass species growing locally.

      - Identify trees/vegetation which may or may not be removed.

    - Wildlife uses of the site:

            - Include the animals targeted for use and their specific needs and uses for the site, including feeding, cover, loafing, nesting, etc.  Include the specific predator-prey relationships and how that influences design requirements such as the need for islands or specific landform types.

            - Is the site critical habitat for any endangered species?  If so when and how do the endangered species use the site?

    - Land use survey of upland areas, areas adjacent to the wetlands site, and the wetlands site.

    - Soils:

      - Provide published soil surveys by county, state, National Resources Conservation Service or others.  Surveys may indicate soil types (sand, loam, clay, etc.), texture, and use (rangeland, agriculture, etc.).

      - Discuss the availability of topsoil either at the site or locally.

      - Discuss the moisture holding capacity, salinity, herbicides, plant disease organisms, or other problems with the soils.

      - If the wetland will be constructed from dry land, what is the availability of topsoil, either on site or locally?  Typically the top six inches of soil over an area that will be cut or filled would be stripped, stockpiled, and spread back over new contours to create the final grade.

      - Soil chemical properties related to plant growth for revegetation purposes:

        - Results of a routine soil analysis performed by a professional soils testing laboratory, including recommendations for amending the soil for desired plant types to be grown.  The analysis report giving values for soil texture, pH, soluble salts, organic matter, amount of available nutrients, lime. Nutrient levels reported in parts per million of the elemental nutrient. Additional tests for gypsum and sodium adsorption ration may be run.

        - Presence of soil contaminants that could be toxic in high enough concentration, such as petroleum products or herbicides.  Levels of heavy metals on land that has been mined.

      - Presence of plant or animal disease organisms.

  - Environmental Considerations.  Implementation of design features should be consistent with environmental commitments listed in the NEPA compliance document and should be consistent with agreements reached between Interior bureaus, Federal agencies, and other governmental agencies.

Design data should include, as a minimum, a brief description of the environmental resources that could be affected by the proposed development.  The emphasis should be on those areas within the range of alternatives open to the designers in developing a design.  The following items should also be included in the design data:

    - Cultural (historical, archeological, architectural, and paleontological) resources in the area of the construction.

    - The need for blending structures with the surroundings.

    - Comments on ecological, aesthetic, or other environmental aspects peculiar to this location which would affect layout or conceptual design.

    - Data on allowable noise limits in the vicinity of the facilities or where otherwise considered necessary or advisable; measurements of existing daytime or nighttime ambient noise levels in the area; and distances to the nearest residential units.

    - Problems with existing bank erosion.

    - Erosion and sediment control requirements.

    - Environmental Permit requirements (Clean Water Act).

    - Special environmental requirements for transmission lines or underground transmission systems.

    - Location, volume, and contamination levels or any solid waste or hazardous waste facilities within the construction area.

    - Provide data on the method(s) of brush and tree disposal permitted by local and State pollution regulatory agencies.

    - Biological information requirements:

      - Disease vector control considerations.  Diseases may be carried by several animals most commonly mosquitoes.  
Discuss which disease vectors may be present and potential control measures such as:

        - Water management – prevention of stagnant water

        - Excavation depths

        - Use of insecticides

        - Timing of construction

        - Other control measures

      - Potential invasive species which may damage the wetlands and or adjacent areas.

      - State anticipated impacts to threatened and endangered species and mitigation measures which can be taken to avoid/and or minimize these impacts.  Emphasis should be placed on gathering, or planning for the collection of any data which will later be required to support necessary permit applications (including Ecological Society of America (ESA) consultations and Clean Water Act (CWA) section 404 permits).

  - Water Supply and Water Quality Factors. If hydrologic data were documented in a report for the Feasibility Designs, they should be updated based on additional information developed since the Feasibility Designs.  The Specifications Design data submittal shall reference the feasibility design document and thus eliminate the need to repeat the information enumerated below.  If the information enumerated below is not contained or is not updated in the report prepared for the Feasibility Design then this information should be provided for the Specifications Design:

    - Source of water for wetlands:

      - Describe the source of water (river, reservoir, and ground water).

      - Is the source of water continuous or intermittent?

      - Will rainfall, river flows, or reservoir adequately supply water or will supplemental water be required?

    - Rivers/streams – hydrologic data:

      - Design floods and flood hydrographs.  Normally a probability curve of flood peak discharges up to 100-year recurrence period will be sufficient.

      - Flood hydrographs for frequencies of 2, 5, 10, and 25 years for use during construction.

      - Monthly hydrographs for past 10 to 100 years.

      - Data for preparation of specifications hydrographs, including the location of gauging station at or near the construction site and the dates for which hydrographs should be prepared.  Copies of daily discharge record should be supplied for stations with unpublished records.

      - Historical monthly flow averages.  Include periods of expected no-flow or aquifer size and recharge rate monthly averages.

    - River Morphology:

      - Water surface elevation curves, sedimentation studies, degradation and aggradation studies should be included.  Water surface elevations should be determined for floods of 100-, 50-, 10-, 5-, and 2-year frequencies.

      - Potential impacts of the project that require design considerations, e.g., increased channel scour, and downstream channel protection, etc.

      - Anticipated future river channel improvement or other construction (upstream and downstream in the river) which might change regimen.

      - Data on upstream and downstream dams, diversions, pumping plants, and reservoirs.

    - Reservoirs:

      - Maximum and minimum operating water surfaces.

      - Operating procedures.

    - Anticipated occurrences and amounts of silt, sediments, biomass, ice (thickness) and drift (trash).

    - Ground water:

      - Describe and provide background data on ground water elevations over time period, including seasonal and over a long period of time.

      - Chemical composition (See table 1 for water quality monitoring parameters).

      - Recharge and percolation rates.

    - Water Quality:

      - Existing water quality (see table 1 for water quality monitoring parameters).

      - Results of water quality studies carried out at or near the site.

      - Potential changes to land use which may affect water quality: industrial, residential, logging, mining, and agricultural.

      - Product water quality requirements (water treatment wetlands):

      - Water quality requirements or standards which have to be met.

      - Desired salinity of product water and limits on specific ion levels, if applicable.

      - Consider potential impacts to the wetlands site, which may occur from surface water runoff originating form off-site sources, containing salts, fertilizers, oils, or any other non-point source of pollution

      - Screening requirements for potential contaminants which may impact the ability of the project to meet design and operating criteria, or pose potential hazards to wildlife or human health and safety.

  - Climate.  Climatic conditions that will affect construction and operation and maintenance procedures such as: amount, rate, and distribution of rain and/or snow; ice conditions; summer and winter temperatures, with extremes; and probability of excessive dust or sand.

    - Number of days of frost in the area of the project site.

    - Evaporation - Annual net evaporation rates and monthly distribution.  Include average monthly wind velocities, extreme wind velocities and prevailing directions.

- Site Design and Construction Data:

  - Surface Data Including Historic Conditions:

    - Surveying:

      - Survey Control.  Permanent horizontal and vertical survey control should be established at the earliest possible time.  A coordinate system on a true north-south grid should be established with the origin located so that all of the features (including borrow areas) at a major structure will be in one quadrant, and so that the values of the coordinates for any major structure are widely separated numerically.  The coordinate system should be related to a state or national coordinate system, if available.  All preceding survey work, including topography and location and ground surface elevation of subsurface exploration, should be corrected to agree with the permanent control system; and all subsequent survey work, including location and ground surface elevation of subsurface exploration, should be based on the permanent control.  All surveys should be tied to the established coordinate system at each construction site.

      - Survey data should show existing facilities such including:

          - Existing manmade site features such as roads, parking turnarounds, buildings, structures, power lines, buried tanks, campgrounds; leach fields, picnic areas, and marinas.

          - Surface drainage features such as drainage from the approach roadways, streams, and ravines plus any existing bridges or culverts (include invert elevations) in close proximity.

          - Site features which would be important design information such as, springs, marsh areas, overflow channels, channel changes, edge of water, high water marks, types of vegetative cover, large boulders, exposed bedrock, etc.

          - Surface and underwater topography (bathymetric chart) (see subsection for “Topography”).

          - Existing right-of way, easement and fencing.  Give dimensions and bearings of the property lines and a dimensional tie to a known section corner as required.

          - Township lines, range lines, and section lines.

          - Show the direction of all transmission lines within the area.

          - Indicate general drainage of the area.

      - Survey data should show proposed features/facilities including:

          - Show locations and ties to all proposed facilities such as buildings, structures, powerlines, buried utility lines and tanks, picnic areas, marinas, sublaterals and deliveries, road crossings, railroad crossings and utility crossings.

          - Grid coordinates for major structures such as pumping plants, flow control stations, tanks, reservoirs, etc.

          - Proposed right-of-way and easement acquisitions and fencing.

          - Geologic exploration holes.

          - Location of river thalweg.

          - Channel modifications.

    - Topographic Map.  A topographic map covering an area sufficient to accommodate all possible arrangements of structures and features; normally this should be on a scale of 1 inch equals 50 feet with a contour interval of 1 foot (wetlands are normally flat areas which require a small contour interval for design and construction).  Show the coordinate system and existing land survey corner monuments or special control points established for the topographic survey.  Show all manmade features in the included area.

Show underwater contours (bathymetric chart).  Bathymetric survey should extend a minimum100 feet upstream, 100 feet downstream, and 100 feet beyond the ends of the wetlands.  The area covered by the Bythymetric survey should be large enough to cover all alternative sites and site arrangements being evaluated.

    - Photographs:

      - Photographs of all existing facilities or structures in the vicinity of the proposed wetland and close-up views of any features which may affect designs and/or layouts.  Photographs of structure sites with structure locations marked in ink.

      - Photographs of existing vegetation at the site, vegetation at any reference sites, and photographs of vegetation proposed for planting or seeding.

    - Aerial Photographs.  Aerial photographs (size 8 by 10 inches) of the proposed wetland sites including existing structures.

These photographs should be taken from locations that would best show the proposed wetland.  Where possible, indicate known tie points to the topographic maps.  Aerial photographs from directly overhead may be beneficial in assessing geologic features when studied with stereographic methods.  Submit the electronic files, negatives or color slides.

  - Foundation Data:

- General Engineering Requirements.  The need for foundation data should be established by the joint efforts of originating office personnel and the office(s) providing design services.  For major features it is recommended that a field conference be held, including an inspection of the site.  This conference should result in a geologic investigations program outlining the need for and extent of surface and subsurface studies, and other requirements.  The geologic investigations program must be based on site conditions and the types of features and structures.  The complexity of the Site will determine the detail of the investigation.

Sufficient data on foundation conditions must be included to determine type of excavation materials that will be encountered.  Logs of all drill holes, auger holes, and exploration pits will be included.

    - Geologic Data.  The following list of geologic design data provides general guidelines for the collection and reporting of geologic information for this type of feature.  The geologist should apply these guidelines with good judgment and sound reasoning, elaborating upon them as required by the particular geologic setting and engineering requirements.  Because the collection of geologic data is a dynamic process and often continues into the preparation of final designs, all stages of the specification design geologic exploration program must be constantly coordinated with the designer through the appropriate geology office.  The designated geologic and geophysical staff will provide necessary assistance and guidance in the gathering of these design data.

      - Compilation, summary, and reporting of Reclamation and non-Reclamation geologic information on the area, with attention being paid to the sequence of explorations and historical geologic events.

      - Surface geologic map of wetland area showing location of explorations.  Locations of all existing explorations should be indicated by coordinates or stationing of the permanent survey control system for the facility.

      - Conduct specific foundation exploration at site of all hydraulic and appurtenant structures.

      - Factual narrative description of surficial deposits with attention being paid to engineering geologic matters, such as swelling minerals, low-density materials, presence of gypsum and other sulfates, caliche, erodibility (see Engineering Geology Field Manual).

      - Photographs of representative or particular geologic conditions.

      - Selected determination of engineering properties of surficial deposits and bedrock by laboratory or field tests.   The type and number of samples and tests required should be determined in cooperation with the design office.

      - Summary and data obtained from exploration by geophysical methods (seismic, resistivity, etc.), if performed.

      - Determine ground water conditions with attention being paid to water levels and their seasonal fluctuation, occurrence of unconfined and confined aquifers, water-producing capabilities, chemistry, and land subsidence.

      - Determine depth to impermeable layer.

      - Determine soil percolation rates (exfiltration and infiltration).

      - Provide logs of explorations.

      - Document past, present, and possible future petroleum, water, and mineral extraction operations in vicinity.

      - Determine geologic conditions which may affect construction methods such as, boulders on ground surface, marshes, ground temperatures, and gases.  Any potential surface water runoff problems should be brought to the attention of a regional hydrologist.

- Determine soil compaction (density).

  - Corrosion Survey (if structures are involved):

    - In situ electrical resistivity measurements of geologic materials in the area of construction.  Additional measurements should be made in the areas where there is a pronounced change in type of geologic materials, drainage, and/or moisture conditions.

    - Performance history of constructed materials that have been used in the area.

    - List of structures in the vicinity of (within ¼ mile) the proposed features.  Determine if buried structures in the vicinity have corrosion protection and, if so, the type of corrosion protection.

    - List location, output, and purpose of the direct-current sources in the earth situated within ¼ mile of the proposed features.  If the purpose of the direct current is for cathodic protection, describe the structure protected and its location.

    - Chemistry of geologic materials, ground water, and/or product water.

  - Construction Materials Data:

    - Location of and distance to suitable borrow areas for permeable and impermeable soil materials for fill or embankment; topsoil; and for riprap for channel or slope protection.  If quantities are limited, give approximate volumes available.

    - An earth materials report containing complete detailed information on those potential sources of soils and rocks that have been selected for final consideration.  (See Earth Manual.)

    - Information on concrete aggregates.  (See “Final investigations” in Concrete Manual).

    - Data on commercial concrete plants within practical hauling distance from the structure site.

    - Information on sources and character of acceptable road surfacing materials.  Consider excavated material as a possible source.

    - Results of sampling and analysis of materials, including previous tests.

    - Information, including catalogues from manufacturers within practical hauling distance from the site, concerning precast concrete products and brick or other masonry units.

  - Electrical Data.  Data listed below will be required to initiate design of any facilities requiring electric power.  The data furnished should be sufficient to permit designers to complete the basic design (single-line diagram) for the required features.  After designs have progressed enough to develop details of electrical system needs, designers will prepare a list of additional data required to complete final design of electrical installation:

    - Names, telephone numbers, email addresses and web sites of electrical power suppliers and contacts within those organizations.

    - Location of point where connection to power supply will be made.

    - System voltage at which power will be supplied, number of phases, and whether service will be overhead or underground.

    - Electrical system reliability criteria.

    - Discuss requirements for an alternate power source.  If an alternate supply is required, indicate:

      - If required by a State or local authority.

      - If source should be an engine-generator.

      - Other energy sources, fossil fuel, solar, geothermal, wind.

      - If a threat to life or property will result if normal power supply is lost.

      - Loads requiring service from alternate source.

    - Requirements for remote monitoring of conditions at the facility.  Discuss location of remote station, and items required to be monitored.

    - Requirements for supervisory control, including location of station from which supervisory control is exercised.

    - Requirements for voice and data communications between the supervisory master station and the remote facility.

    - Electric power for construction (give location, power supplier, voltage, number of phases, and capacity of existing transmission lines; power rate schedules; probability of interruption of supply; and requirements for additional transmission line, if needed).

  - Construction Considerations:

    - Construction schedule:

      - One contract or several contracts.

      - Whether construction schedule will be adaptive, (e.g., provide a remedy, observe the effects, and then modify remedy as required).

    - Recommended period for construction.

    - Measures which need to be taken prior to construction.

    - Unusual local pest (termites, borers, etc.) action and recommended preventive measures.

    - Allowable in-river materials (permanent and temporary).

    - Allowable construction methods.

    - Water for construction purposes.  For large rivers, this item may be unimportant.  For small streams and offstream reservoirs, the item becomes critical.  Determine if up to 2-ft3/s diversion flow for Construction purposes can be assured to the contractor.  The Government should obtain the water rights required.  If necessary to use ground water, obtain information on probable sources and yields.  Furnish information on locations and yields of existing wells in the vicinity.  Determine restrictions, if any, to use of ground water for this purpose.  It may be necessary to obtain permits from State or other governing agencies.  Retrieve water quality samples for testing and evaluation.

    - Requirements for maintaining stream flow or diversions during construction and maximum length, time, and number of permitted interruptions.

    - Is a construction schedule and/or logic diagram required?

    - Required permits from government agencies and others.

    - The approximate distance from the nearest railroad shipping terminal to the structure site; load restrictions and physical inadequacies of existing roads and structures and an estimate of remedial improvements to accommodate construction hauling; estimate of length and major structures required for new construction access road; and possible alternative means for delivering construction materials and equipment to the wetlands site.

    - Impact of moving construction materials on existing road facilities, including consideration of such factors as traffic congestion, effect on road condition, air pollution, etc.

    - Requirements for temporary construction access roads, permanent access and service roads, and relocation of existing roads or railroads.  Include any limiting requirements imposed by road owners for public access/haul roads.

    - Comments on disposal of special excavation problem materials such as lignite.

    - Give borrow area and temporary haul road restoration requirements such as stockpiling of top soil, grading of the area, general cleanup, etc.

    - Give consideration to using required excavated material in lieu of material from other borrow sources wherever possible.

    - Requirements for meeting criteria for suppression of nitrogen, adequate oxygen levels, and temperature control and control of turbidity during construction.

    - Availability or accessibility of public facilities or utilities such as: water supply, sewage disposal, telephone utility, and fire protection services for construction.  Names telephone numbers, email addresses and web sites of local utilities and contacts within those organizations.

    - Disposal areas for excess excavated materials.

  - Cost Data:

    - Estimate of cost of right-of-way or easements.  Include supporting data.

    - Total anticipated construction budget if known.

    - If potential actions exceed anticipated funding, should the cost estimate reflect incremental costs of potential actions?  Provide any known increment or arrangement of the incremental costs.

    - Estimates of cost for clearing construction area and for removing or replacing private improvements in the area.  Include supporting data.

    - Estimates of cost for relocating railroads, highways, roads, water systems, and other public utilities from site.  Include supporting data.  Where buildings are located within the area to be cleared by the prime contractor, and if disposal will be the contractor’s responsibility, designate building groups by number and furnish detailed list of buildings for each group.  Details should include general description, size, materials, and general condition.  Determine if disposal will be the responsibility of prime contractor.  If not, submit dates when disposition will be completed by others.

    - Information on important construction work in progress or planned in the vicinity (including upstream and downstream of the site).

    - Designated areas to be cleared of vegetation, with description of kinds, size, and density of growth.  State recommended method of payment; i.e., lump-sum price for specific area with defined limits, or unit price per acre for specific area whose limits may change during construction.  If there is a variation in the density of growth or in the difficulty of clearing operations for the designated area to be cleared, the work should be segregated into not more than three items with the limits of respective areas clearly established.  If vegetation to be cleared is very sparse or is such as can be removed without special equipment or separate operations, the cost of clearing should be included in the prices bid for excavation or prices bid for other items of work.

    - Local freight or trucking rates.

  - Right-of-Way.  Show the following data:

    - Proposed right-of-way boundaries for construction purposes.

    - Proposed right-of-way boundaries for access purposes.

    - Designation of areas within right-of-way boundaries for the following special purposes:

      - Disposal of waste material.

      - Contractor's plant, storage, and other incidental purposes.

      - Borrow sources.

      - Government’s construction facilities (if applicable).

    - Existing private or public easements and right-of-way across or adjacent to the construction area.

  - Miscellaneous Data:

    - Security requirements for protection of equipment from vandalism or sabotage.  Recommended specific measures to meet anticipated conditions such as 7-foot yard fence topped with barbed wire, security lighting, electronic surveillance equipment, etc.

# Table 1 – Water quality monitoring parameters

| Water Quality Monitoring – Selected parameter groups | Technical Service Center, 86-68520, January 10, 2007 |
| --- | --- |
| Series | Symbol | Parameter | Description |
| A. | 1. 2. 3. 4. 5. | Flow Rate (Q) Water Depth Air Temperature Atmos. Pressure Weather | stream gauge, weir, or flume field record or staff gauge field measurement field barometer reading filed note observations | Site flow and weather measurements |
| B. | 1. 2. 3. 4. | Water Temp. DO pH EC | field measurement field Dissolved Oxygen field / lab pH meter units field / lab Specific Conductivity | Basic field or continuous monitoring methods |
| C. | 1. 2. 3. 4. 5. 6. 7. | NO3 + NO2 as N NH3 as N TKN as N SRP-PO4 TDP TP Chlorophyll a | Dissolved nitrate+nitrite (as N) total Ammonia (as N) total Kjeldahl Nitrogen soluble ortho-Phosphate total dissolved Phosphorus total (unfiltered), Phosphorus total - phytoplankton filter | Nutrients and algae growth indicators |
| D. | 1. 2. 3. 4. 5. 6. 7. | Turbidity TSS VSS BOD5 COD TOC DOC | Standard turbidity units Total Suspended Solids Volatile Solids, TSS Biochemical Oxygen Demand Chemical Oxidation Demand Total Organic Carbon Dissolved Organic Carbon | Organics and particulate matter indicators |
| E. | 1. 2. 3. 4. 5. 6. 7. 8. 9. 10. 11. 12. 13. | Alkalinity Carbonate Bicarbonate TDS Na K Ca Mg SO4 Cl SiO2 F B | meq CO3+HCO3 total CO3 titration total HCO3 titration total dissolved solids dissolved Sodium dissolved Potassium dissolved Calcium dissolved Magnesium dissolved Sulfate dissolved Chloride dissolved Silica dissolved Fluoride dissolved Boron | Major ions and inorganic chemistry parameters |
| F. | 1. 2. 3. | Fecal Coliform Enterococci E. Coli | unfiltered, std. micro. test unfiltered, std. micro. test unfiltered, std. micro. test | Enteric bacteria indicators |
| G. | 1. 2. 3. 4. 5. 6. 7. 8. 9. 10. 11. | Fe Mn Cu Ni Zn Cr Cd Pb Hg As Se | total Iron total Manganese total Copper total Nickel total Zinc total Chromium total Cadmium total Lead total Mercury total Arsenic total Selenium | Metals and trace elements |
| Notes: | The parameters represent common water quality indicators. Actual monitoring should be adjusted to study objectives. Other methods may apply to specific site conditions or topics of interest. Refer to applicable sampling, preservation, analytical standard methods, and quality control procedures. |

# DEFINITIONS (U.S. Environmental Protection Agency)

- Basin – A drainage basin is a region of land where water from rain or snowmelt drains downhill into a body of water, such as a river, lake, dam, estuary, wetland, sea or ocean.  The drainage basin includes both the streams and rivers that convey the water as well as the land surfaces from which water drains into those channels.  The drainage basin acts like a funnel – collecting all the water within the area covered by the basin and channeling it into a waterway. Each drainage basin is separated topographically from adjacent basins by a ridge, hill or mountain, which is known as a water divide or a watershed.

- Bog– A bog is a wetland type that accumulates acidic peat, a deposit of dead plant material.

- Creation – Construction of a wetland in an area that was not a wetland in the recent past (within the last 100-200 years) and that is isolated from existing wetlands (i.e., not directly adjacent).

- Enhancement – The modification of specific structural features of an existing wetland to increase one or more functions based on management objectives typically done by modifying site elevations or the portion of open water.  Although this term implies gain or improvement, a positive change in one wetland function may negatively affect other wasteland functions.

- Mitigation – Refers to the restoration, creation, or enhancement of wetlands to compensate for permitted wetland losses.

- Establishment – The manipulation of the physical chemical or biological characteristics present to develop a wetland that did not previously exist.

- Marsh – A marsh is a type of wetland, featuring grasses, rushes, reeds, typhas, sedges, cat tails, and other herbaceous plants (possibly with low-growing woody plants) in a context of shallow water.  A marsh is different from a swamp, which is dominated by trees rather than grasses and low herbs. The water of a marsh can be fresh, brackish or saline.

- Playas – Playa lakes are round hollows in the ground in the Southern High Plains of the United States.  They are ephemeral, meaning that they are only present at certain times of the year.

- Prairie potholes – Prairie potholes are depressional wetlands (primarily freshwater marshes) found most often in the upper Midwest, especially North Dakota, South Dakota, Wisconsin, and Minnesota.  This formerly glaciated landscape is pockmarked with an immense number of potholes, which fill with snowmelt and rain in the spring.  Some prairie pothole marshes are temporary, while others may be essentially permanent.  Here a pattern of rough concentric circles develops.  Submerged and floating aquatic plants take over the deeper water in the middle of the pothole while bulrushes and cattails grow closer to shore.  Wet, sedgy marshes lie next to the upland.

- Protection/Maintenance – The removal of a threat to, or preventing decline of wetland conditions by an action in or near a wetland.  Includes purchase of land or easement, repairing water control structures or fences, or structural protection such as repairing a barrier island.  This term also includes activities commonly associated with the term preservation.  Protection/Maintenance does not result in a gain of wetland acres or function.

- Swamps – A wetland that features permanent inundation of large areas of land by shallow bodies of water, generally with a substantial number of hummocks, or dry-land protrusions.  Swamps are usually regarded as including a large amount of woody vegetation.  When a wetland area does not include such vegetation, it is usually termed a marsh.

- Reallocation or replacement – Applies when most or all of a wetland is converted to a different type of wetland.

- Restoration – The term indicates that degraded and destroyed natural wetland systems will be reestablished to sites where they once existed.  But, what wetland ecosystems are we talking about?  How far back in time should we go to find target ecosystems?  Is establishing any type of wetland enough to be called "restoration"?

  - Re-establishment – Restoration should reestablish insofar as possible the ecological integrity of degraded aquatic ecosystems

  - Rehabilitation –The manipulation of the physical, chemical, or biological characteristics of a site with the goal of repairing natural/historic functions of degraded wetland.  Rehabilitation results in a gain in wetland function, but does not result in a gain in wetland acres

  - Guiding principles:

    - Preserve and protect aquatic resources.

    - Restore ecological integrity – Restoration strives for the greatest progress toward ecological integrity achievable within the current limits of the water shed by using designs that favor the natural processes and communities that have sustained native ecosystems through time.

    - Restore natural structure – Restoring the original site morphology and other; physical attributes is essential to the success of other aspects of the project, such as improving water quality and binging back native biota.

    - Restore natural function – It is essential to identify what functions should be present and make missing or impaired functions priorities in the restoration.  Verifying whether desired functions have been reestablished can be a good way to determine whether the restoration project has succeeded.

    - Broader context – Requires a design based on the entire watershed.

    - Natural potential of the watershed – requires knowledge of historical range of conditions that existed on the site prior to degradation and what future conditions might be.

    - Ongoing causes of degradation – identify the causes of degradation and eliminate or remediate ongoing stresses wherever possible.  It is important to look at upstream and up-slope activities.

    - Develop clear and achievable measurable goals –

    - Anticipate future changes

    - Design for self-sustainability

    - Use passive restoration when appropriate – i.e., simply reducing or eliminating the sources of degradation and allowing recovery time.  Restoring the hydrologic regime may be enough to let time re-establish the native plant community, with its associated habitat value.  Relies on natural processes over time.

    - Restore native species and avoid non-native species.

    - Use natural fixes and bioengineering techniques, where possible – create wetlands to treat storm water, to restore vegetation on river banks, to enhance natural decontamination of runoff.

    - Monitor and adapt.

- Vernal pools – A vernal pool is usually a shallow, natural depression in level ground, with no permanent above-ground outlet, that holds water seasonally.  They could colloquially be referred to as temporary wetlands.  In the Northeast United States (Maine, Massachusetts, and perhaps others) vernal pools fill with the rising water table or with the melt water and rain of spring. Many vernal pools in the northeast are covered with ice in the winter.